## Collected Ge Detector Sample Re
Some Useful Information Concerning the results:
The Conversion factors for the primordial nuclides are given by: | [9 empty] | 1 Bq 238U/kg = 81 ppb U (81 x 10-9 gU/g) | [5 empty] | The 238U decay chain gammas used are: | [5 empty] | 226Ra: 186.1 keV
214Pb: 295.21 and 351.92 keV
214Bi: 609.31, 1120.29, 1764.49 and 2204.21 keV
The relationships are valid for any daughters in the 238U, 235U or 232Th chain only if the chain is in equilibrium. | [9 empty] | 1 Bq 232Th/kg = 246 ppb Th (246 x 10-9 gTh/g) | [5 empty] | The 232Th decay chain gammas used are: | [5 empty] | 212Pb: 238.63 and 300.09 keV
208Tl: 583.19 and 2614.53 keV,
228Ac: 911.21 keV
[10 empty] | 1 Bq 40K/kg = 32300 ppb K (32300 x 10-6 gK/g) | [5 empty] | The 40K decay chain gamma used is: | [5 empty] | 40K: 1460.83 keV
[10 empty] | 1 Bq 235U/kg = 1.76 ppm U (1.76 x 10-6 gU/g) | [5 empty] | The 235U decay chain gammas used are: | [5 empty] | 235U: 143.76, 163.33 and 205.31 keV
The measurements of the samples below take into account the background measurements. If a measurement is below the background then the upper bound shown is the 90% confidence limit.
CNL Measurements:
Sample Description | Manufacturer | Mass (g) | Live Time (days) | Run Numbers | Counting Dates (if applicable)
CNL G01 |  | 44.7003 g | 4.826 | 230202 | 2023-02-02 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Pembroke Site 3 0-5 cm |  |  |  |  | 2023-02-07 | (mBq/kg) | 8068 | +- | 202.8 | 15370 | +- | 1042 | 423.2 | +- | 23.05 | 9729 | +- | 279.2 | 485700 | +- | 24970 | 3525.5 | +- | 194.1 | 88.57 | +- | 38.31
[6 empty] | (ppb or ppm) | 653.51 ppb | +- | 16.43 ppb | 1244.97 ppb | +- | 84.4 ppb | 744.83 ppb | +- | 40.57 ppb | 2393.33 ppb | +- | 68.68 ppb | 15688.11 ppm | +- | 806.53 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 32005 | +- | 2111 | 688.4 | +- | 316.3 | <66.49 |  |  | 10120 | +- | 311.7
[6 empty] | (ppb or ppm) | 2592.41 ppb | +- | 170.99 ppb | [6 empty] | 2489.52 ppb | +- | 76.68 ppb
CNL G02 |  | 29.1940 g | 3.028 | 230207 | 2023-02-07 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Pembroke Site 2 0-5 cm |  |  |  |  | 2023-02-10 | (mBq/kg) | 8283 | +- | 237 | 134300 | +- | 1075 | 400.3 | +- | 29.82 | 7601 | +- | 255.1 | 427590 | +- | 22210 | 4436 | +- | 257.7 | <67.36
[6 empty] | (ppb or ppm) | 670.92 ppb | +- | 19.2 ppb | 10878.3 ppb | +- | 87.08 ppb | 704.53 ppb | +- | 52.48 ppb | 1869.85 ppb | +- | 62.75 ppb | 13811.16 ppm | +- | 717.38 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 43942 | +- | 2893 | 1379.3 | +- | 459.3 | 62.212 | +- | 53.26 | 7718 | +- | 310.9
[6 empty] | (ppb or ppm) | 3559.3 ppb | +- | 234.33 ppb | [6 empty] | 1898.63 ppb | +- | 76.48 ppb
CNL G03 |  | 39.0012 g | 2.875 | 230210 | 2023-02-10 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Pembroke Site 1 0-5 cm |  |  |  |  | 2023-02-13 | (mBq/kg) | 7880 | +- | 223.1 | 14380 | +- | 1170 | 397.8 | +- | 30.81 | 10590 | +- | 329.6 | 505920 | +- | 26140 | 3988.9 | +- | 232.5 | <85.46
[6 empty] | (ppb or ppm) | 638.28 ppb | +- | 18.07 ppb | 1164.78 ppb | +- | 94.77 ppb | 700.13 ppb | +- | 54.23 ppb | 2605.14 ppb | +- | 81.08 ppb | 16341.22 ppm | +- | 844.32 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 45284 | +- | 3042 | 950.1 | +- | 432.7 | 98.74 | +- | 55.25 | 11220 | +- | 383.9
[6 empty] | (ppb or ppm) | 3668 ppb | +- | 246.4 ppb | [6 empty] | 2760.12 ppb | +- | 94.44 ppb
CNL G04 |  | 43.3920 g | 3.896 | 230213 | 2023-02-13 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Lemiuex Island 0-5 cm |  |  |  |  | 2023-02-17 | (mBq/kg) | 10030 | +- | 251.9 | 22010 | +- | 1452 | 626.2 | +- | 30.12 | 15910 | +- | 435.9 | 423840 | +- | 21850 | 2877.4 | +- | 168.3 | 17.36 | +- | 42.64
[6 empty] | (ppb or ppm) | 812.43 ppb | +- | 20.4 ppb | 1782.81 ppb | +- | 117.61 ppb | 1102.11 ppb | +- | 53.01 ppb | 3913.86 ppb | +- | 107.23 ppb | 13690.03 ppm | +- | 705.76 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 40755 | +- | 2620 | 375.69 | +- | 362.2 | 97.253 | +- | 45.84 | 15550 | +- | 453.1
[6 empty] | (ppb or ppm) | 3301.16 ppb | +- | 212.22 ppb | [6 empty] | 3825.3 ppb | +- | 111.46 ppb
CNL G05 |  | 24.0637 g | 3.951 | 230217 | 2023-02-17 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
22-ES-004 0-5 cm |  |  |  |  | 2023-02-21 | (mBq/kg) | 12440 | +- | 319 | 18000 | +- | 1345 | 734.2 | +- | 36.33 | 14220 | +- | 419 | 261260 | +- | 13690 | 8746.1 | +- | 470.4 | 84.55 | +- | 46.79
[6 empty] | (ppb or ppm) | 1007.64 ppb | +- | 25.84 ppb | 1458 ppb | +- | 108.95 ppb | 1292.19 ppb | +- | 63.94 ppb | 3498.12 ppb | +- | 103.07 ppb | 8438.7 ppm | +- | 442.19 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 90779 | +- | 5137 | 1735.9 | +- | 477.8 | 126.72 | +- | 52.4 | 13700 | +- | 446.3
[6 empty] | (ppb or ppm) | 7353.1 ppb | +- | 416.1 ppb | [6 empty] | 3370.2 ppb | +- | 109.79 ppb
CNL G06 |  | 38.5346 g | 3.048 | 230221 | 2023-02-21 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
22-ES-003 0-5 cm |  |  |  |  | 2023-02-24 | (mBq/kg) | 14950 | +- | 369 | 24250 | +- | 1802 | 881.5 | +- | 42.62 | 26380 | +- | 748.8 | 400110 | +- | 20720 | 4554.3 | +- | 261.6 | <65.58
[6 empty] | (ppb or ppm) | 1210.95 ppb | +- | 29.89 ppb | 1964.25 ppb | +- | 145.96 ppb | 1551.44 ppb | +- | 75.01 ppb | 6489.48 ppb | +- | 184.2 ppb | 12923.55 ppm | +- | 669.26 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 58205 | +- | 3681 | 1447.5 | +- | 530.5 | 275.43 | +- | 66.15 | 28320 | +- | 775.8
[6 empty] | (ppb or ppm) | 4714.61 ppb | +- | 298.16 ppb | [6 empty] | 6966.72 ppb | +- | 190.85 ppb
CNL G07 |  | 15.6454 g | 3.819 | 230224 | 2023-02-24 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
22-ES-002 0-5 cm |  |  |  |  | 2023-02-28 | (mBq/kg) | 8969 | +- | 269.8 | 12950 | +- | 1218 | 563.5 | +- | 41.13 | 8679 | +- | 303.7 | 221600 | +- | 11860 | 31081 | +- | 1614 | <47.57
[6 empty] | (ppb or ppm) | 726.49 ppb | +- | 21.85 ppb | 1048.95 ppb | +- | 98.66 ppb | 991.76 ppb | +- | 72.39 ppb | 2135.03 ppb | +- | 74.71 ppb | 7157.68 ppm | +- | 383.08 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 148340 | +- | 8304 | 1177.2 | +- | 677 | 36.528 | +- | 56.87 | 9419 | +- | 391.1
[6 empty] | (ppb or ppm) | 12015.54 ppb | +- | 672.62 ppb | [6 empty] | 2317.07 ppb | +- | 96.21 ppb
CNL G08 |  | 35.0914 g | 2.979 | 230228 | 2023-02-28 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
22-ES-005 0-5 cm |  |  |  |  | 2023-03-03 | (mBq/kg) | 16980 | +- | 412.1 | 29430 | +- | 1921 | 992.4 | +- | 45.52 | 21960 | +- | 608 | 339530 | +- | 17660 | 7757 | +- | 422.2 | <107.20
[6 empty] | (ppb or ppm) | 1375.38 ppb | +- | 33.38 ppb | 2383.83 ppb | +- | 155.6 ppb | 1746.62 ppb | +- | 80.12 ppb | 5402.16 ppb | +- | 149.57 ppb | 10966.82 ppm | +- | 570.42 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 59478 | +- | 3788 | 872.31 | +- | 517.9 | 256.09 | +- | 62.97 | 21940 | +- | 640.9
[6 empty] | (ppb or ppm) | 4817.72 ppb | +- | 306.83 ppb | [6 empty] | 5397.24 ppb | +- | 157.66 ppb
CNL G09 |  | 32.5213 g | 3.882 | 230303 | 2023-03-03 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
22-ES-006 0-5 cm |  |  |  |  | 2023-03-07 | (mBq/kg) | 19280 | +- | 447 | 32890 | +- | 2072 | 1101 | +- | 45.17 | 20800 | +- | 570.7 | 388440 | +- | 20120 | 20120 | +- | 1034 | <89.61
[6 empty] | (ppb or ppm) | 1561.68 ppb | +- | 36.21 ppb | 2664.09 ppb | +- | 167.83 ppb | 1937.76 ppb | +- | 79.5 ppb | 5116.8 ppb | +- | 140.39 ppb | 12546.61 ppm | +- | 649.88 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 65056 | +- | 3974 | 430.04 | +- | 526.4 | 130.24 | +- | 57 | 20230 | +- | 593.6
[6 empty] | (ppb or ppm) | 5269.54 ppb | +- | 321.89 ppb | [6 empty] | 4976.58 ppb | +- | 146.03 ppb
CNL G10 |  | 33.1979 g | 2.917 | 230307 | 2023-03-07 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Princess Sodalite Mine 0-5 cm |  |  |  |  | 2023-03-10 | (mBq/kg) | 17580 | +- | 433.1 | 32610 | +- | 2140 | 907.9 | +- | 46.12 | 22230 | +- | 623.3 | 575340 | +- | 29660 | 754.53 | +- | 97.23 | <80.67
[6 empty] | (ppb or ppm) | 1423.98 ppb | +- | 35.08 ppb | 2641.41 ppb | +- | 173.34 ppb | 1597.9 ppb | +- | 81.17 ppb | 5468.58 ppb | +- | 153.33 ppb | 18583.48 ppm | +- | 958.02 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 65413 | +- | 4185 | 476.07 | +- | 536.2 | 121.36 | +- | 69.39 | 22780 | +- | 674.6
[6 empty] | (ppb or ppm) | 5298.45 ppb | +- | 338.99 ppb | [6 empty] | 5603.88 ppb | +- | 165.95 ppb
CNL G11 |  | 25.1502 g | 6.955 | 230310 | 2023-03-10 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Silver Crater Mine 0-5 cm |  |  |  |  | 2023-03-17 | (mBq/kg) | 81060 | +- | 1512 | 262100 | +- | 11340 | 7093 | +- | 162.8 | 39240 | +- | 980.5 | 392930 | +- | 20290 | 6300.6 | +- | 340.6 | <53.82
[6 empty] | (ppb or ppm) | 6565.86 ppb | +- | 122.47 ppb | 21230.1 ppb | +- | 918.54 ppb | 12483.68 ppb | +- | 286.53 ppb | 9653.04 ppb | +- | 241.2 ppb | 12691.64 ppm | +- | 655.37 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 143150 | +- | 7716 | 1525.8 | +- | 575.2 | 114.46 | +- | 67.2 | 37610 | +- | 970.7
[6 empty] | (ppb or ppm) | 11595.15 ppb | +- | 625 ppb | [6 empty] | 9252.06 ppb | +- | 238.79 ppb
CNL G12 |  | 49.9717 g | 3.882 | 230317 | 2023-03-17 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Princess Sodalite Mine 5-10 cm |  |  |  |  | 2023-03-21 | (mBq/kg) | 15550 | +- | 356 | 29010 | +- | 1771 | 819.4 | +- | 34.1 | 19610 | +- | 520.6 | 588960 | +- | 30230 | 190.03 | +- | 57.6 | 60.03 | +- | 46.57
[6 empty] | (ppb or ppm) | 1259.55 ppb | +- | 28.84 ppb | 2349.81 ppb | +- | 143.45 ppb | 1442.14 ppb | +- | 60.02 ppb | 4824.06 ppb | +- | 128.07 ppb | 19023.41 ppm | +- | 976.43 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 19843 | +- | 1749 | 279.87 | +- | 374.6 | 107.99 | +- | 49.53 | 18970 | +- | 553.5
[6 empty] | (ppb or ppm) | 1607.28 ppb | +- | 141.67 ppb | [6 empty] | 4666.62 ppb | +- | 136.16 ppb
CNL G13 |  | 14.2047 g | 2.847 | 230321 | 2023-03-21 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Forest 1-7 0-5 cm |  |  |  |  | 2023-03-24 | (mBq/kg) | 7474 | +- | 258.6 | 11220 | +- | 1267 | 338.4 | +- | 42.59 | 6076 | +- | 260.4 | 317510 | +- | 17060 | 15960 | +- | 874.3 | <100.80
[6 empty] | (ppb or ppm) | 605.39 ppb | +- | 20.95 ppb | 908.82 ppb | +- | 102.63 ppb | 595.58 ppb | +- | 74.96 ppb | 1494.7 ppb | +- | 64.06 ppb | 10255.57 ppm | +- | 551.04 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 212480 | +- | 11800 | 1762.3 | +- | 721.9 | <95.55 |  |  | 6155 | +- | 348.4
[6 empty] | (ppb or ppm) | 17210.88 ppb | +- | 955.8 ppb | [6 empty] | 1514.13 ppb | +- | 85.71 ppb
CNL G14 |  | 38.0931 g | 3.979 | 230324 | 2023-03-24 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Forest 1-6 10-15 cm |  |  |  |  | 2023-03-28 | (mBq/kg) | 11490 | +- | 284 | 18510 | +- | 1249 | 553.5 | +- | 29.35 | 8978 | +- | 274.5 | 477750 | +- | 24600 | 1728.6 | +- | 115.4 | 31.24 | +- | 44.99
[6 empty] | (ppb or ppm) | 930.69 ppb | +- | 23 ppb | 1499.31 ppb | +- | 101.17 ppb | 974.16 ppb | +- | 51.66 ppb | 2208.59 ppb | +- | 67.53 ppb | 15431.33 ppm | +- | 794.58 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 16280 | +- | 1699 | 398.72 | +- | 358.5 | 14.727 | +- | 43.92 | 9340 | +- | 317.3
[6 empty] | (ppb or ppm) | 1318.68 ppb | +- | 137.62 ppb | [6 empty] | 2297.64 ppb | +- | 78.06 ppb
CNL G15 |  | 10.7889 g | 2.958 | 230328 | 2023-03-28 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Forest 2-4 0-5 cm |  |  |  |  | 2023-03-31 | (mBq/kg) | 6494 | +- | 259.8 | 11920 | +- | 1471 | 357.5 | +- | 48.87 | 6507 | +- | 290 | 357580 | +- | 19430 | 17980 | +- | 1000 | 140 | +- | 83.62
[6 empty] | (ppb or ppm) | 526.01 ppb | +- | 21.04 ppb | 965.52 ppb | +- | 119.15 ppb | 629.2 ppb | +- | 86.01 ppb | 1600.72 ppb | +- | 71.34 ppb | 11549.83 ppm | +- | 627.59 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 259040 | +- | 14560 | <1241.00 |  |  | 70.624 | +- | 77.35 | 6084 | +- | 295.1
[6 empty] | (ppb or ppm) | 20982.24 ppb | +- | 1179.36 ppb | [6 empty] | 1496.66 ppb | +- | 72.59 ppb
CNL G16 |  | 37.0549 g | 3.965 | 230331 | 2023-03-31 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Forest 1-3 10-15 cm |  |  |  |  | 2023-04-04 | (mBq/kg) | 12710 | +- | 309.1 | 19690 | +- | 1331 | 655.3 | +- | 31.06 | 9605 | +- | 290.1 | 439010 | +- | 22630 | 3082.6 | +- | 180.3 | <45.06
[6 empty] | (ppb or ppm) | 1029.51 ppb | +- | 25.04 ppb | 1594.89 ppb | +- | 107.81 ppb | 1153.33 ppb | +- | 54.67 ppb | 2362.83 ppb | +- | 71.36 ppb | 14180.02 ppm | +- | 730.95 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 24099 | +- | 1995 | <551.80 |  |  | <78.03 |  |  | 9843 | +- | 333.4
[6 empty] | (ppb or ppm) | 1952.02 ppb | +- | 161.6 ppb | [6 empty] | 2421.38 ppb | +- | 82.02 ppb
CNL G17 |  | 30.4842 g | 6.944 | 230404 | 2023-04-04 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Forest 2-5 5-10 cm |  |  |  |  | 2023-04-11 | (mBq/kg) | 7969 | +- | 199.1 | 12460 | +- | 903.2 | 452.6 | +- | 22.68 | 6763 | +- | 206 | 458880 | +- | 23580 | 8806 | +- | 456.3 | 31.81 | +- | 36.57
[6 empty] | (ppb or ppm) | 645.49 ppb | +- | 16.13 ppb | 1009.26 ppb | +- | 73.16 ppb | 796.58 ppb | +- | 39.92 ppb | 1663.7 ppb | +- | 50.68 ppb | 14821.82 ppm | +- | 761.63 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 76126 | +- | 4258 | <468.70 |  |  | 29.266 | +- | 35.49 | 6680 | +- | 235.8
[6 empty] | (ppb or ppm) | 6166.21 ppb | +- | 344.9 ppb | [6 empty] | 1643.28 ppb | +- | 58.01 ppb
CNL G18 |  | 72.7095 g | 2.674 | 230411 | 2023-04-11 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Forest 2-3 10-15 cm |  |  |  |  | 2023-04-14 | (mBq/kg) | 6195 | +- | 168.6 | 13110 | +- | 953.9 | 389 | +- | 23.09 | 11020 | +- | 312.3 | 384700 | +- | 19800 | 1399.5 | +- | 93.16 | <30.11
[6 empty] | (ppb or ppm) | 501.8 ppb | +- | 13.66 ppb | 1061.91 ppb | +- | 77.27 ppb | 684.64 ppb | +- | 40.64 ppb | 2710.92 ppb | +- | 76.83 ppb | 12425.81 ppm | +- | 639.54 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 10787 | +- | 1213 | 542.75 | +- | 301.3 | 106.22 | +- | 38.52 | 10710 | +- | 331.4
[6 empty] | (ppb or ppm) | 873.75 ppb | +- | 98.25 ppb | [6 empty] | 2634.66 ppb | +- | 81.52 ppb
CNL G19 |  | 19.6234 g | 4.951 | 230414 | 2023-04-14 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Forest 2-1 0-5 cm |  |  |  |  | 2023-04-19 | (mBq/kg) | 4617 | +- | 149.1 | 9068 | +- | 849.2 | 303.1 | +- | 25.82 | 6584 | +- | 222.1 | 253900 | +- | 13320 | 17473 | +- | 907.3 | <58.43
[6 empty] | (ppb or ppm) | 373.98 ppb | +- | 12.08 ppb | 734.51 ppb | +- | 68.79 ppb | 533.46 ppb | +- | 45.44 ppb | 1619.66 ppb | +- | 54.64 ppb | 8200.97 ppm | +- | 430.24 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 92147 | +- | 5208 | 366.78 | +- | 421.3 | 71.675 | +- | 41.69 | 7178 | +- | 283.7
[6 empty] | (ppb or ppm) | 7463.91 ppb | +- | 421.85 ppb | [6 empty] | 1765.79 ppb | +- | 69.79 ppb
CNL G20 |  | 45.3675 g | 5.879 | 230419 | 2023-04-19 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Forest 2-2 5-10 cm |  |  |  |  | 2023-04-25 | (mBq/kg) | 6263 | +- | 158.5 | 13260 | +- | 889.8 | 382.5 | +- | 19.94 | 10070 | +- | 277.1 | 361650 | +- | 18580 | 8527.8 | +- | 444 | <42.85
[6 empty] | (ppb or ppm) | 507.3 ppb | +- | 12.84 ppb | 1074.06 ppb | +- | 72.07 ppb | 673.2 ppb | +- | 35.09 ppb | 2477.22 ppb | +- | 68.17 ppb | 11681.3 ppm | +- | 600.13 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 21949 | +- | 1552 | 441.83 | +- | 268.7 | 95.648 | +- | 31.4 | 9813 | +- | 292.5
[6 empty] | (ppb or ppm) | 1777.87 ppb | +- | 125.71 ppb | [6 empty] | 2414 ppb | +- | 71.96 ppb
CNL G21 |  | 13.8283 g | 6.39 | 230425 | 2023-04-25 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Forest 1-4 0-5 cm |  |  |  |  | 2023-05-02 | (mBq/kg) | 9956 | +- | 265.4 | 13740 | +- | 1081 | 572.8 | +- | 32.75 | 6974 | +- | 237.7 | 297410 | +- | 15630 | 12627 | +- | 668.1 | <92.36
[6 empty] | (ppb or ppm) | 806.44 ppb | +- | 21.5 ppb | 1112.94 ppb | +- | 87.56 ppb | 1008.13 ppb | +- | 57.64 ppb | 1715.6 ppb | +- | 58.47 ppb | 9606.34 ppm | +- | 504.85 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 182580 | +- | 9933 | <884.20 |  |  | <76.69 |  |  | 7162 | +- | 286.9
[6 empty] | (ppb or ppm) | 14.79 ppm | +- | 0.8 ppm | [6 empty] | 1761.85 ppb | +- | 70.58 ppb
CNL G22 |  | 32.5420 g | 6.854 | 230705 | 2023-07-05 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
G22 PAN-AM Resin Test Pacific Salmon |  |  |  |  | 2023-07-12 | (mBq/kg) | <22.87 |  |  | <262.80 |  |  | <10.44 |  |  | <18.41 |  |  | 16861 | +- | 970.7 | 215.94 | +- | 19.42 | <6.52
[6 empty] | (ppb or ppm) | <1.85 ppb |  |  | <21.29 ppb |  |  | <18.37 ppb |  |  | <4.53 ppb |  |  | 544.61 ppm | +- | 31.35 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | <1726.00 |  |  | <156.40 |  |  | <7.86 |  |  | <43.43
[6 empty] | (ppb or ppm) | <139.81 ppb | [8 empty] | <10.68 ppb
CNL G23 |  | 31.538 g | 14.66 | 23071204 | 2023-07-12 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Untreated Resin |  |  |  |  | 2023-07-27 | (mBq/kg) | 51.14 | +- | 7.574 | <73.46 |  |  | <4.28 |  |  | <17.73 |  |  | 49.018 | +- | 45.1 | <5.12 |  |  | <2.02
[6 empty] | (ppb or ppm) | 4.14 ppb | +- | 0.61 ppb | <5.95 ppb |  |  | <7.53 ppb |  |  | <4.36 ppb |  |  | 1.58 ppm | +- | 1.46 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | <1435.00 |  |  | 46.297 | +- | 43.33 | <2.80 |  |  | 16.41 | +- | 12.3
[6 empty] | (ppb or ppm) | <116.24 ppb | [8 empty] | 4.04 ppb | +- | 3.03 ppb
In Progress and To Be Measured:
Sample Description | Manufacturer | Mass (g) | Live Time (days) | Run Numbers | Counting Dates (if applicable)
Next Sample | [5 empty] | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
(mBq/kg)
(ppb or ppm)
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
(mBq/kg)
(ppb or ppm)