## Collected Ge Detector Sample Re
Some Useful Information Concerning the results:
The Conversion factors for the primordial nuclides are given by: | [9 empty] | 1 Bq 238U/kg = 81 ppb U (81 x 10-9 gU/g) | [5 empty] | The 238U decay chain gammas used are: | [5 empty] | 226Ra: 186.1 keV
214Pb: 295.21 and 351.92 keV
214Bi: 609.31, 1120.29, 1764.49 and 2204.21 keV
The relationships are valid for any daughters in the 238U, 235U or 232Th chain only if the chain is in equilibrium. | [9 empty] | 1 Bq 232Th/kg = 246 ppb Th (246 x 10-9 gTh/g) | [5 empty] | The 232Th decay chain gammas used are: | [5 empty] | 212Pb: 238.63 and 300.09 keV
208Tl: 583.19 and 2614.53 keV,
228Ac: 911.21 keV
[10 empty] | 1 Bq 40K/kg = 32300 ppb K (32300 x 10-6 gK/g) | [5 empty] | The 40K decay chain gamma used is: | [5 empty] | 40K: 1460.83 keV
[10 empty] | 1 Bq 235U/kg = 1.76 ppm U (1.76 x 10-6 gU/g) | [5 empty] | The 235U decay chain gammas used are: | [5 empty] | 235U: 143.76, 163.33 and 205.31 keV
The measurements of the samples below take into account the background measurements. If a measurement is below the background then the upper bound shown is the 90% confidence limit.
CUTE Measurements:
Sample Description | Manufacturer | Mass (g) | Live Time (days) | Run Numbers | Counting Dates (if applicable)
CUTE G01 | FEP Jacket with PTFE Dialetric and Copper Conductor | 18.9 g | 14.861 | 220531 | 2022-05-31 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
SMA Coax Cable |  |  |  |  | 2022-06-15 | (mBq/kg) | 275.9 | +- | 18.91 | <172.70 |  |  | <6.76 |  |  | 18.33 | +- | 16.11 | 140.2 | +- | 92.13 | 4.4557 | +- | 6.834 | <6.48
[6 empty] | (ppb or ppm) | 22.35 ppb | +- | 1.53 ppb | <13.99 ppb |  |  | <11.9 ppb |  |  | 4.51 ppb | +- | 3.96 ppb | 4.53 ppm | +- | 2.98 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | <5795.00 |  |  | <135.30 |  |  | 2.9698 | +- | 5.31 | 24.35 | +- | 23.48
[6 empty] | (ppb or ppm) | <469.4 ppb | [8 empty] | 5.99 ppb | +- | 5.78 ppb
CUTE G02 | 8 Small Copper “L” shaped copper pieces | 45.0 g | 13.785 | 220517 | 2022-05-17 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Copper Plates |  |  |  |  | 2022-05-31 | (mBq/kg) | 88.66 | +- | 10.3 | <164.00 |  |  | <10.62 |  |  | 17.82 | +- | 11.39 | 44.819 | +- | 51.93 | <7.61 |  |  | <1.27
[6 empty] | (ppb or ppm) | 7.18 ppb | +- | 0.83 ppb | <13.28 ppb |  |  | <18.69 ppb |  |  | 4.38 ppb | +- | 2.8 ppb | 1.45 ppm | +- | 1.68 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | <11640.00 |  |  | 53.383 | +- | 55.74 | <3.32 |  |  | <15.52
[6 empty] | (ppb or ppm) | <942.84 ppb | [8 empty] | <3.82 ppb
CUTE G03 |  | 1.1 g | 12.764 | 220615 | 2022-06-15 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
M3 Brass Threaded Rod |  |  |  |  | 2022-06-28 | (mBq/kg) | <248.70 |  |  | <1297.00 |  |  | <99.45 |  |  | 342 | +- | 187.7 | <1345.00 |  |  | <81.93 |  |  | <30.55
[6 empty] | (ppb or ppm) | <20.14 ppb |  |  | <105.06 ppb |  |  | <175.03 ppb |  |  | 84.13 ppb | +- | 46.17 ppb | <43.44 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | <13410.00 |  |  | 567.83 | +- | 919.1 | <53.79 |  |  | 164.9 | +- | 254.3
[6 empty] | (ppb or ppm) | <1.09 ppm | [8 empty] | 40.57 ppb | +- | 62.56 ppb
CUTE G04 |  | 243.3 g | 6.722 | 220916 | 2022-09-16 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
133Ba SRS-22-001-C Rinse Solution |  |  |  |  | 2022-09-23 | (mBq/kg) | 6.214 | +- | 2.98 | <34.31 |  |  | <8.16 |  |  | <5.07 |  |  | 15.14 | +- | 13.21 | <2.03 |  |  | <0.37
[6 empty] | (ppb or ppm) | 0.5 ppb | +- | 0.24 ppb | <2.78 ppb |  |  | <14.36 ppb |  |  | <1.25 ppb |  |  | 489.02 ppb | +- | 426.68 ppb
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 133Ba:
[6 empty] | (mBq/kg) | <427.20 |  |  | <11.57 |  |  | <0.62 |  |  | <7.17 |  |  | 7305.1 | +- | 368.2
[6 empty] | (ppb or ppm) | <34.6 ppb | [8 empty] | <1.76 ppb
CUTE G05 |  | 259.5 g | 20.791 | 220923 | 2022-09-23 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
133Ba SRS-22-001-D Rinse Solution |  |  |  |  | 2022-10-14 | (mBq/kg) | 2.393 | +- | 1.573 | <15.67 |  |  | <1.35 |  |  | 3.861 | +- | 1.564 | 4.665 | +- | 7.561 | <1.35 |  |  | <0.27
[6 empty] | (ppb or ppm) | 0.19 ppb | +- | 0.13 ppb | <1.27 ppb |  |  | <2.38 ppb |  |  | 0.95 ppb | +- | 0.38 ppb | 150.68 ppb | +- | 244.22 ppb
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 133Ba:
[6 empty] | (mBq/kg) | <168.50 |  |  | <8.46 |  |  | <0.52 |  |  | <4.72 |  |  | 87.765 | +- | 5.183
CUTE G06 | Rinse Test #2 | 255.9 g | 9.917 | 221021 | 2022-10-21 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
133Ba SRS-22-001-A Rinse Solution |  |  |  |  | 2022-10-31 | (mBq/kg) | 5.072 | +- | 1.738 | <34.79 |  |  | 0.2441 | +- | 0.9083 | <5.32 |  |  | <25.14 |  |  | <0.83 |  |  | <0.56
[6 empty] | (ppb or ppm) | 0.41 ppb | +- | 0.14 ppb | <2.82 ppb |  |  | 0.43 ppb | +- | 1.6 ppb | <1.31 ppb |  |  | <812.02 ppb
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 133Ba:
[6 empty] | (mBq/kg) | <181.60 |  |  | <12.72 |  |  | <0.75 |  |  | <6.00 |  |  | <1.22
[6 empty] | (ppb or ppm) | <14.71 ppb | [8 empty] | <1.48 ppb
CUTE G07 | Rinse Test #2 | 265.1 g | 9.021 | 221031 | 2022-10-31 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
133Ba SRS-22-001-C Rinse Solution |  |  |  |  | 2022-11-09 | (mBq/kg) | <2.91 |  |  | <22.41 |  |  | <0.92 |  |  | <7.68 |  |  | 14.42 | +- | 10.98 | <1.29 |  |  | <0.57
[6 empty] | (ppb or ppm) | <0.24 ppb |  |  | <1.82 ppb |  |  | <1.62 ppb |  |  | <1.89 ppb |  |  | 0.47 ppm | +- | 0.35 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 133Ba:
[6 empty] | (mBq/kg) | 143.1 | +- | 129.1 | <21.22 |  |  | <0.56 |  |  | <6.67 |  |  | <1.27
[6 empty] | (ppb or ppm) | 11.59 ppb | +- | 10.46 ppb | [6 empty] | <1.64 ppb
CUTE G08 |  | 12.3 g | 8.028 | 240411 | 2024-04-11 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
PCB & Connector |  |  |  |  | 2024-04-19 | (mBq/kg) | 374.5 | +- | 10.6 | 597.1 | +- | 47.33 | 21.5 | +- | 1.481 | 487.2 | +- | 15.81 | 667.36 | +- | 49.69 | <3.10 |  |  | <2.09
[6 empty] | (ppb or ppm) | 30.33 ppb | +- | 0.86 ppb | 48.37 ppb | +- | 3.83 ppb | 37.84 ppb | +- | 2.61 ppb | 119.85 ppb | +- | 3.89 ppb | 21.56 ppm | +- | 1.6 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 278.88 | +- | 86.54 | 10.341 | +- | 17.02 | 3.0083 | +- | 1.997 | 625.8 | +- | 20.16
[6 empty] | (ppb or ppm) | 22.59 ppb | +- | 7.01 ppb | [6 empty] | 153.95 ppb | +- | 4.96 ppb
CUTE G09 |  | 13.9 g | 5.743 | 240419 | 2024-04-19 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Cable and Connectors |  |  |  |  | 2024-04-25 | (mBq/kg) | 1185 | +- | 67.76 | 6832 | +- | 671.5 | 181.5 | +- | 21.18 | 1011 | +- | 72.48 | 665.58 | +- | 274.3 | <33.46 |  |  | <7.77
[6 empty] | (ppb or ppm) | 95.99 ppb | +- | 5.49 ppb | 553.39 ppb | +- | 54.39 ppb | 319.44 ppb | +- | 37.28 ppb | 248.71 ppb | +- | 17.83 ppb | 21.5 ppm | +- | 8.86 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 7787.5 | +- | 1736 | <309.60 |  |  | 23.93 | +- | 18.3 | 1250 | +- | 114.9
[6 empty] | (ppb or ppm) | 630.79 ppb | +- | 140.62 ppb | [6 empty] | 307.5 ppb | +- | 28.27 ppb
In Progress and To Be Measured:
Sample Description | Manufacturer | Mass (g) | Live Time (days) | Run Numbers | Counting Dates (if applicable)
CUTE G10 | Material name: CP-EXP-1184 | 89.9 g | 10.722 | 250114 250115 250116 250117 | 2025-01-14 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Magnetic Shield Plate | Ad-Vance Magnetics Inc |  |  |  |  | (mBq/kg) | 32.8 | +- | 21.67 | <211.80 |  |  | <16.70 |  |  | 134.1 | +- | 22.49 | <127.80 |  |  | <13.14 |  |  | 7.285 | +- | 5.797
[6 empty] | (ppb or ppm) | 2.66 ppb | +- | 1.76 ppb | <17.16 ppb |  |  | <29.39 ppb |  |  | 32.99 ppb | +- | 5.53 ppb | <4.13 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 57Co |  |  |  | 58Co:
[6 empty] | (mBq/kg) | <3722.00 |  |  | <160.30 |  |  | 5.8361 | +- | 7.621 | <55.83 |  |  | 61.88 | +- | 22.32 | 21.919 | +- | 8.69
[6 empty] | (ppb or ppm) | <301.48 ppb | [8 empty] | <13.73 ppb
Next Sample | [5 empty] | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
(mBq/kg)
[6 empty] | (ppb or ppm) | [8 empty] | .
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac: |  | 210Po:
(mBq)
(ppb or ppm)