## Collected Ge Detector Sample Re
Some Useful Information Concerning the results:
The Conversion factors for the primordial nuclides are given by: | [9 empty] | 1 Bq 238U/kg = 81 ppb U (81 x 10-9 gU/g) | [5 empty] | The 238U decay chain gammas used are: | [5 empty] | 226Ra: 186.1 keV
214Pb: 295.21 and 351.92 keV
214Bi: 609.31, 1120.29, 1764.49 and 2204.21 keV
The relationships are valid for any daughters in the 238U, 235U or 232Th chain only if the chain is in equilibrium. | [9 empty] | 1 Bq 232Th/kg = 246 ppb Th (246 x 10-9 gTh/g) | [5 empty] | The 232Th decay chain gammas used are: | [5 empty] | 212Pb: 238.63 and 300.09 keV
208Tl: 583.19 and 2614.53 keV,
228Ac: 911.21 keV
[10 empty] | 1 Bq 40K/kg = 32300 ppb K (32300 x 10-6 gK/g) | [5 empty] | The 40K decay chain gamma used is: | [5 empty] | 40K: 1460.83 keV
[10 empty] | 1 Bq 235U/kg = 1.76 ppm U (1.76 x 10-6 gU/g) | [5 empty] | The 235U decay chain gammas used are: | [5 empty] | 235U: 143.76, 163.33 and 205.31 keV
The measurements of the samples below take into account the background measurements. If a measurement is below the background then the upper bound shown is the 90% confidence limit.
NEWS-G Measurements:
Sample Description | Manufacturer | Mass (g) | Live Time (days) | Run Numbers | Counting Dates (if applicable)
NEWSG G01 | Distilled Treated ETS-10 Powder | 49.8 g | 6.625 | 260302 260307 | 2026-03-02 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co | Comments
Zeolite Powder |  |  |  |  | 2026-03-09 | (mBq/kg) | 2221 | +- | 72.95 | 2796 | +- | 496.6 | 126.6 | +- | 13.8 | 1065 | +- | 54.27 | 1012000 | +- | 51800 | 45.096 | +- | 35.09 | <72.90
[6 empty] | (ppb or ppm) | 179.9 ppb | +- | 5.91 ppb | 226.48 ppb | +- | 40.22 ppb | 222.82 ppb | +- | 24.29 ppb | 261.99 ppb | +- | 13.35 ppb | 32687.6 ppm | +- | 1673.14 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | <808.50 |  |  | <300.20 |  |  | <43.69 |  |  | 1023 | +- | 104.3
[6 empty] | (ppb or ppm) | <65.49 ppb | [8 empty] | 251.66 ppb | +- | 25.66 ppb
NEWSG G02 | [5 empty] | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co | Comments
Place Holder | [5 empty] | (mBq/kg)
[6 empty] | (ppb or ppm) | #VALUE! |  |  | #VALUE! |  |  | #VALUE! |  |  | 0 ppb | +- | 0 ppb | 0 ppb | +- | 0 ppb
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
(mBq/kg)
[6 empty] | (ppb or ppm) | #VALUE! | [8 empty] | 0 ppb | +- | 0 ppb
In Progress and To Be Measured:
Sample Description | Manufacturer | Mass (g) | Live Time (days) | Run Numbers | Counting Dates (if applicable)
NEWSG G02 | [5 empty] | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co | Comments
Place Holder | [5 empty] | (mBq/kg)
[6 empty] | (ppb or ppm) | #VALUE! |  |  | #VALUE! |  |  | #VALUE! |  |  | 0 ppb | +- | 0 ppb | 0 ppb | +- | 0 ppb
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
(mBq/kg)
[6 empty] | (ppb or ppm) | #VALUE! | [8 empty] | 0 ppb | +- | 0 ppb
Next Sample | [5 empty] | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co | Comments
(mBq/kg)
[6 empty] | (ppb or ppm) | [8 empty] | .
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac: |  | 210Po:
(mBq)
(ppb or ppm)