## Collected Ge Detector Sample Re
Some Useful Information Concerning the results:
The Conversion factors for the primordial nuclides are given by: | [9 empty] | 1 Bq 238U/kg = 81 ppb U (81 x 10-9 gU/g) | [5 empty] | The 238U decay chain gammas used are: | [5 empty] | 226Ra: 186.1 keV
214Pb: 295.21 and 351.92 keV
214Bi: 609.31, 1120.29, 1764.49 and 2204.21 keV
The relationships are valid for any daughters in the 238U, 235U or 232Th chain only if the chain is in equilibrium. | [9 empty] | 1 Bq 232Th/kg = 246 ppb Th (246 x 10-9 gTh/g) | [5 empty] | The 232Th decay chain gammas used are: | [5 empty] | 212Pb: 238.63 and 300.09 keV
208Tl: 583.19 and 2614.53 keV,
228Ac: 911.21 keV
[10 empty] | 1 Bq 40K/kg = 32300 ppb K (32300 x 10-6 gK/g) | [5 empty] | The 40K decay chain gamma used is: | [5 empty] | 40K: 1460.83 keV
[10 empty] | 1 Bq 235U/kg = 1.76 ppm U (1.76 x 10-6 gU/g) | [5 empty] | The 235U decay chain gammas used are: | [5 empty] | 235U: 143.76, 163.33 and 205.31 keV
The measurements of the samples below take into account the background measurements. If a measurement is below the background then the upper bound shown is the 90% confidence limit.
QBITS-CUTE Measurements:
Sample Description | Manufacturer | Mass (g) | Live Time (days) | Run Numbers | Counting Dates (if applicable)
QBITS-CUTE G01 |  | 9.0 g | 9.382 | 220726 220729 | 2022-07-26 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  | 60Co |  | Comments
Nb Superconducting Coax Cable with Crimp Connectors |  |  |  |  | 2022-08-05 | (mBq/kg) | 1200 | +- | 73.79 | <1721.00 |  |  | <34.58 |  |  | 290.7 | +- | 49.08 | 357.64 | +- | 244.1 | <23.75 |  | <22.68
[6 empty] | (ppb or ppm) | 97.2 ppb | +- | 5.98 ppb | <139.4 ppb |  |  | <60.86 ppb |  |  | 71.51 ppb | +- | 12.07 ppb | 11.55 ppm | +- | 7.88 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | <26610.00 |  |  | <272.20 |  |  | <13.16 |  |  | 24.47 | +- | 66.91
[6 empty] | (ppb or ppm) | <0.22 ppm | [8 empty] | 6.02 ppb | +- | 16.46 ppb
QBITS-CUTE G02 |  | 39.9 g | 12.833 | 220805 | 2022-08-05 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  | 60Co |  | Comments
Stainless Steel Cables with Connectors |  |  |  |  | 2022-08-18 | (mBq/kg) | <10.91 |  |  | 163.5 | +- | 217.8 | <7.35 |  |  | 103.2 | +- | 13.78 | 112.29 | +- | 67.69 | <12.82 |  | 2.039 | +- | 2.833
[6 empty] | (ppb or ppm) | <0.88 ppb |  |  | 13.24 ppb | +- | 17.64 ppb | <12.94 ppb |  |  | 25.39 ppb | +- | 3.39 ppb | 3.63 ppm | +- | 2.19 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 57Co |  |  |  | 58Co:
[6 empty] | (mBq/kg) | <1896.00 |  |  | <58.01 |  |  | <3.67 |  |  | <37.24 |  |  | <15.19 |  |  | <6.43
[6 empty] | (ppb or ppm) | <153.58 ppb | [8 empty] | <9.16 ppb
In Progress and To Be Measured:
Sample Description | Manufacturer | Mass (g) | Live Time (days) | Run Numbers | Counting Dates (if applicable)
[6 empty] | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  | 60Co |  | Comments
Next Sample | [5 empty] | (mBq/kg)
[6 empty] | (ppb or ppm) | [8 empty] | .
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac: |  | 210Po:
(mBq)
(ppb or ppm)