## Collected Ge Detector Sample Re
Some Useful Information Concerning the results:
The Conversion factors for the primordial nuclides are given by: | [9 empty] | 1 Bq 238U/kg = 81 ppb U (81 x 10-9 gU/g) | [5 empty] | The 238U decay chain gammas used are: | [5 empty] | 226Ra: 186.1 keV
214Pb: 295.21 and 351.92 keV
214Bi: 609.31, 1120.29, 1764.49 and 2204.21 keV
The relationships are valid for any daughters in the 238U, 235U or 232Th chain only if the chain is in equilibrium. | [9 empty] | 1 Bq 232Th/kg = 246 ppb Th (246 x 10-9 gTh/g) | [5 empty] | The 232Th decay chain gammas used are: | [5 empty] | 212Pb: 238.63 and 300.09 keV
208Tl: 583.19 and 2614.53 keV,
228Ac: 911.21 keV
[10 empty] | 1 Bq 40K/kg = 32300 ppb K (32300 x 10-6 gK/g) | [5 empty] | The 40K decay chain gamma used is: | [5 empty] | 40K: 1460.83 keV
[10 empty] | 1 Bq 235U/kg = 1.76 ppm U (1.76 x 10-6 gU/g) | [5 empty] | The 235U decay chain gammas used are: | [5 empty] | 235U: 143.76, 163.33 and 205.31 keV
The measurements of the samples below take into account the background measurements. If a measurement is below the background then the upper bound shown is the 90% confidence limit.
REPAIR Measurements:
Sample Description | Manufacturer | Mass (g) | Live Time (days) | Run Numbers | Counting Dates (if applicable)
REPAIR G01 | SST Sensing Ltd | 158.4 g | 1.005 | 260619 | 2026-06-19 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  | 60Co | Comments
Zirconium Oxygen Sensor | PN: 02S-FR-T2-18BM-A |  |  |  |  | (mBq/kg) | 458 | +- | 28.76 | 534.3 | +- | 137.8 | 19.64 | +- | 5.393 | 362.2 | +- | 28.06 | 1050.2 | +- | 181 | <13.78 |  | <7.51
|  |  |  | Efficiency Corrections Not Applied |  | (ppb or ppm) | 37.1 ppb | +- | 2.33 ppb | 43.28 ppb | +- | 11.16 ppb | 34.57 ppb | +- | 9.49 ppb | 89.1 ppb | +- | 6.9 ppb | 33.92 ppm | +- | 5.85 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | <135.10 |  |  | <41.68 |  |  | <9.17 |  |  | 374.7 | +- | 42.86
[6 empty] | (ppb or ppm) | <10.94 ppb | [8 empty] | 92.18 ppb | +- | 10.54 ppb
In Progress and To Be Measured:
Sample Description | Manufacturer | Mass (g) | Live Time (days) | Run Numbers | Counting Dates (if applicable)
REPAIR G01 | SST Sensing Ltd | 158.4 g | 1.005 | 260619 | 2026-06-19 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  | 60Co | Comments
Zirconium Oxygen Sensor | PN: 02S-FR-T2-18BM-A |  |  |  |  | (mBq/kg) | 458 | +- | 28.76 | 534.3 | +- | 137.8 | 19.64 | +- | 5.393 | 362.2 | +- | 28.06 | 1050.2 | +- | 181 | <13.78 |  | <7.51
|  |  |  | Efficiency Corrections Not Applied |  | (ppb or ppm) | 37.1 ppb | +- | 2.33 ppb | 43.28 ppb | +- | 11.16 ppb | 34.57 ppb | +- | 9.49 ppb | 89.1 ppb | +- | 6.9 ppb | 33.92 ppm | +- | 5.85 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | <135.10 |  |  | <41.68 |  |  | <9.17 |  |  | 374.7 | +- | 42.86
[6 empty] | (ppb or ppm) | <10.94 ppb | [8 empty] | 92.18 ppb | +- | 10.54 ppb
Next Sample | [5 empty] | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  | 60Co | Comments
(mBq/kg)
[6 empty] | (ppb or ppm) | [8 empty] | .
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac: |  | 210Po:
(mBq)
(ppb or ppm)