## Collected Ge Detector Sample Re
Some Useful Information Concerning the results:
The Conversion factors for the primordial nuclides are given by: | [9 empty] | 1 Bq 238U/kg = 81 ppb U (81 x 10-9 gU/g) | [5 empty] | The 238U decay chain gammas used are: | [5 empty] | 226Ra: 186.1 keV
214Pb: 295.21 and 351.92 keV
214Bi: 609.31, 1120.29, 1764.49 and 2204.21 keV
The relationships are valid for any daughters in the 238U, 235U or 232Th chain only if the chain is in equilibrium. | [9 empty] | 1 Bq 232Th/kg = 246 ppb Th (246 x 10-9 gTh/g) | [5 empty] | The 232Th decay chain gammas used are: | [5 empty] | 212Pb: 238.63 and 300.09 keV
208Tl: 583.19 and 2614.53 keV,
228Ac: 911.21 keV
[10 empty] | 1 Bq 40K/kg = 32300 ppb K (32300 x 10-6 gK/g) | [5 empty] | The 40K decay chain gamma used is: | [5 empty] | 40K: 1460.83 keV
[10 empty] | 1 Bq 235U/kg = 1.76 ppm U (1.76 x 10-6 gU/g) | [5 empty] | The 235U decay chain gammas used are: | [5 empty] | 235U: 143.76, 163.33 and 205.31 keV
The measurements of the samples below take into account the background measurements. If a measurement is below the background then the upper bound shown is the 90% confidence limit.
SNOLAB Measurements:
Sample Description | Manufacturer | Mass (g) | Live Time (days) | Run Numbers | Counting Dates (if applicable)
SNOLAB G001 | Acrylic Stand 1 made by SNOLAB Installation Group |  | P1: 10.5 | 180924 | 2018-09-24 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Acrylic Stand 1 |  |  | P2: 36.792 |  | 2018-10-05 | (mBq/kg) | 4.148 | +- | 0.2067 | 9.432 | +- | 2.259 | 0.2253 | +- | 0.1127 | 1.872 | +- | 0.159 | 4.0288 | +- | 0.7221 | 0.02858 | +- | 0.0623 | 0.05942 | +- | 0.02565
| No Backgrounds are subtracted from these results |  | P3: 37.374 | 181031 181119 | 2018-10-31 | (ppb or ppm) | [8 empty] | .
[5 empty] | 2018-12-12 | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 210Po:
|  |  | Total is: | 190826 | 2019-08-26 | (mBq/kg) | 835.51 | +- | 44.06 | 2.3453 | +- | 0.8049 | 0.0436 | +- | 0.04274 | 3.595 | +- | 0.2824 | 10269 | +- | 4584
|  |  | 84.666 |  | 2019-10-04 | (ppb or ppm)
SNOLAB G002 | Acrylic Stand 2 made by SNOLAB Installation Group |  | 24.417 | 181005 181008 181017 181018 181022 | 2018-10-05 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Acrylic Stand 2 |  |  |  |  | 2018-10-31 | (mBq/kg) | 5.144 | +- | 0.2605 | 8.687 | +- | 2.743 | 0.1996 | +- | 0.2986 | 1.715 | +- | 0.1697 | 3.8586 | +- | 0.8099 | <0.14 |  |  | 0.1311 | +- | 0.0383
| No Backgrounds are subtracted from these results |  | and |  | and | (ppb or ppm) | [8 empty] | .
|  |  | 39.874 | 181212 190107 19011601 | 2018-12-12 | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 210Po:
|  |  | Total is: | 19011702 19012102 19012201 | 2019-01-23 | (mBq/kg) | 864.94 | +- | 46 | 0.9895 | +- | 0.8627 | <0.060 |  |  | 3.844 | +- | 0.3364 | 5860.1 | +- | 5060
|  |  | 64.291 |  |  | (ppb or ppm)
SNOLAB G003 | NIST Sample | 28.825 g | 2.833 | 200127 | 2020-01-27 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Powdered Ocean Sediment Calibration Sample | Cross Comparison Sample A |  |  |  | 2020-01-30 | (mBq/kg) | 2898 | +- | 126.4 | 11270 | +- | 1611 | 585.2 | +- | 34.85 | 1458 | +- | 102.1 | 33933 | +- | 2130 | 3357.6 | +- | 197.8 | 22.43 | +- | 14.88
| Sample placed directly on top of the detector |  |  |  |  | (ppb or ppm) | 234.74 ppb | +- | 10.24 ppb | 0.91 ppm | +- | 0.13 ppm | 1.03 ppm | +- | 0.06 ppm | 0.36 ppm | +- | 0.03 ppm | 1096.04 ppm | +- | 68.8 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 241Am:
[6 empty] | (mBq/kg) | 8358.4 | +- | 2997 | <264.90 |  |  | 37.669 | +- | 23.32 | 4729 | +- | 207.4 | 22806 | +- | 1224
[6 empty] | (ppb or ppm) | 0.68 ppm | +- | 0.24 ppm | [6 empty] | 1.16 ppm | +- | 0.05 ppm
SNOLAB G004 | NIST Sample | 28.825 g | 4.708 | 200130 | 2020-01-30 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Powdered Ocean Sediment Calibration Sample | Cross Comparison Sample A |  |  |  | 2020-02-04 | (mBq/kg) | 3819 | +- | 187.7 | 10400 | +- | 2107 | 449.8 | +- | 62.29 | 2875 | +- | 184 | 38322 | +- | 2742 | 3593.9 | +- | 240.3 | 18.77 | +- | 22.74
| Sample placed 45mm above the detector (one counting pot container) |  |  |  |  | (ppb or ppm) | 309.34 ppb | +- | 15.2 ppb | 0.84 ppm | +- | 0.17 ppm | 0.79 ppm | +- | 0.11 ppm | 0.71 ppm | +- | 0.05 ppm | 1237.8 ppm | +- | 88.57 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 241Am:
[6 empty] | (mBq/kg) | 2032.1 | +- | 5253 | <527.60 |  |  | 38.037 | +- | 41.16 | 5875 | +- | 318.4 | 20524 | +- | 1173
[6 empty] | (ppb or ppm) | 164.6 ppb | +- | 425.49 ppb | [6 empty] | 1.45 ppm | +- | 0.08 ppm
SNOLAB G005 | NIST Sample | 33.454 g | 6.542 | 200302 | 2020-03-02 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Powdered Ocean Sediment Calibration Sample | Cross Comparison Sample B |  |  |  | -620113 | (mBq/kg) | 2387 | +- | 88.77 | 10880 | +- | 1315 | 595.4 | +- | 23.9 | 1071 | +- | 65.77 | 33306 | +- | 1860 | 3355.9 | +- | 179.8 | <17.58
| Sample placed directly on top of the detector |  |  |  |  | (ppb or ppm) | 193.35 ppb | +- | 7.19 ppb | 0.88 ppm | +- | 0.11 ppm | 1.05 ppm | +- | 0.04 ppm | 263.47 ppb | +- | 16.18 ppb | 1075.78 ppm | +- | 60.08 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 241Am:
[6 empty] | (mBq/kg) | 8193 | +- | 1916 | <157.3 |  |  | 19.546 | +- | 14.16 | 4937 | +- | 165.2 | 22456 | +- | 1172
[6 empty] | (ppb or ppm) | 0.66 ppm | +- | 0.16 ppm | [6 empty] | 1.21 ppm | +- | 0.04 ppm
SNOLAB G006 | NIST Sample | 33.454 g | 13.958 | 200309 | 2020-03-09 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Powdered Ocean Sediment Calibration Sample | Cross Comparison Sample B |  |  |  | 2020-03-24 | (mBq/kg) | 2018 | +- | 96.5 | 13050 | +- | 1588 | 581.7 | +- | 35.9 | 1242 | +- | 84.92 | 39480 | +- | 2276 | 3554.5 | +- | 197.6 | <18.54
| Sample placed 45mm above the detector (one counting pot container) |  |  |  |  | (ppb or ppm) | 163.46 ppb | +- | 7.82 ppb | 1.06 ppm | +- | 0.13 ppm | 1.02 ppm | +- | 0.06 ppm | 305.53 ppb | +- | 20.89 ppb | 1275.2 ppm | +- | 73.51 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 241Am:
[6 empty] | (mBq/kg) | 11037 | +- | 3353 | <365.40 |  |  | 16.93 | +- | 19.91 | 5735 | +- | 214.5 | 20729 | +- | 1099
[6 empty] | (ppb or ppm) | 894 ppb | +- | 271.59 ppb | [6 empty] | 1.41 ppm | +- | 0.05 ppm
SNOLAB G007 | Part No. TS-5 | 60.3 g | 5.5 | 200204 | 2020-02-04 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Plastic Process Equipment Inc. | Macedonia, OH 44056 |  |  |  | 2020-02-10 | (mBq/kg) | 639 | +- | 29.45 | 2112 | +- | 231.8 | 107.7 | +- | 8.011 | 109.8 | +- | 12.02 | 207.5 | +- | 61.87 | 1.4691 | +- | 4.57 | <1.58
White PTFE Thread Sealant Paste | [5 empty] | (ppb or ppm) | 51.76 ppb | +- | 2.39 ppb | 171.07 ppb | +- | 18.78 ppb | 189.55 ppb | +- | 14.1 ppb | 27.01 ppb | +- | 2.96 ppb | 6.7 ppm | +- | 2 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 3549.2 | +- | 882.1 | <63.91 |  |  | <9.21 |  |  | 286.6 | +- | 26.26
[6 empty] | (ppb or ppm) | 287.49 ppb | +- | 71.45 ppb | [6 empty] | 70.5 ppb | +- | 6.46 ppb
SNOLAB G008 | Type: 7093 | 416.4 g | 2.667 | 200210 | 2020-02-10 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
GST II General Purpose Air and Water Hose | Parker Hannifin Corp |  |  |  | 2020-02-13 | (mBq/kg) | 836 | +- | 31.94 | 3580 | +- | 336.7 | 197.8 | +- | 9.928 | 388 | +- | 23.53 | 1367.4 | +- | 122.5 | <5.19 |  |  | <2.54
[6 empty] | (ppb or ppm) | 67.72 ppb | +- | 2.59 ppb | 289.98 ppb | +- | 27.27 ppb | 348.13 ppb | +- | 17.47 ppb | 95.45 ppb | +- | 5.79 ppb | 44.17 ppm | +- | 3.96 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 6020.2 | +- | 698 | <64.99 |  |  | 4.979 | +- | 4.97 | 1423 | +- | 53.25
[6 empty] | (ppb or ppm) | 487.64 ppb | +- | 56.54 ppb | [6 empty] | 350.06 ppb | +- | 13.1 ppb
SNOLAB G009 | ID Type: GL00215 | 888.7 g | 4.708 | 200213 | 2020-02-13 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Gates Adapta Flex Multipurpose 1 ½” Hose |  |  |  |  | 2020-02-18 | (mBq/kg) | 140.9 | +- | 6.154 | 478.6 | +- | 56.9 | 16.35 | +- | 1.961 | 60.11 | +- | 4.338 | 607.97 | +- | 52.92 | <1.41 |  |  | <0.80
[6 empty] | (ppb or ppm) | 11.41 ppb | +- | 0.5 ppb | 38.77 ppb | +- | 4.61 ppb | 28.78 ppb | +- | 3.45 ppb | 14.79 ppb | +- | 1.07 ppb | 19.64 ppm | +- | 1.71 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 385.05 | +- | 227.9 | 11.3 | +- | 12.2 | 1.63 | +- | 1.07 | 103.3 | +- | 7.373
[6 empty] | (ppb or ppm) | 31.19 ppb | +- | 18.46 ppb | [6 empty] | 25.41 ppb | +- | 1.81 ppb
SNOLAB G010 | Type: 7322 | 1041.7 g | 2.917 | 200218 | 2020-02-18 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Parker Series Super Flex Hose | Large Diameter General Service Air and Water Hose |  |  |  | 2020-02-21 | (mBq/kg) | 1107 | +- | 36.25 | 884 | +- | 365.2 | 253.4 | +- | 10.7 | 382.9 | +- | 22.29 | 2997.5 | +- | 195.5 | <2.69 |  |  | 2.07 | +- | 2.108
| Material: EPDM |  |  |  |  | (ppb or ppm) | 89.67 ppb | +- | 2.94 ppb | 71.6 ppb | +- | 29.58 ppb | 445.98 ppb | +- | 18.83 ppb | 94.19 ppb | +- | 5.48 ppb | 96.82 ppm | +- | 6.31 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 8670.8 | +- | 856.2 | <67.74 |  |  | 12.682 | +- | 4.89 | 1865 | +- | 61.37
[6 empty] | (ppb or ppm) | 702.33 ppb | +- | 69.35 ppb | [6 empty] | 458.79 ppb | +- | 15.1 ppb
SNOLAB G011 | Fittings are made from polypropylene | 456.8 g | 3.625 | 200221 | 2020-02-21 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Philmac Compression Fittings | This sample contains only ½” size fittings |  |  |  | 2020-02-25 | (mBq/kg) | 320.5 | +- | 14.81 | 1246 | +- | 153.5 | 58.64 | +- | 5.284 | 226.6 | +- | 15.11 | 304.66 | +- | 49.72 | <2.16 |  |  | 0.6828 | +- | 1.137
| Fitting Labels: IPS SIDR |  |  |  |  | (ppb or ppm) | 25.96 ppb | +- | 1.2 ppb | 100.93 ppb | +- | 12.43 ppb | 103.21 ppb | +- | 9.3 ppb | 55.74 ppb | +- | 3.72 ppb | 9.84 ppm | +- | 1.61 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 1950.8 | +- | 500.7 | <43.48 |  |  | 5.3419 | +- | 3.508 | 682.9 | +- | 29.93
[6 empty] | (ppb or ppm) | 158.01 ppb | +- | 40.56 ppb | [6 empty] | 167.99 ppb | +- | 7.36 ppb
SNOLAB G012 | Fittings are made from polypropylene | 469.8 g | 5.958 | 200225 | 2020-02-25 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Philmac Compression Fittings | This sample contains a 1 ¾” size fitting |  |  |  | 2020-03-02 | (mBq/kg) | 434 | +- | 17.79 | 1939 | +- | 204.3 | 71.18 | +- | 6.318 | 421.9 | +- | 23.33 | 538.18 | +- | 61.57 | <3.05 |  |  | 1.252 | +- | 1.313
| Fitting Labels: IPS SIDR |  |  |  |  | (ppb or ppm) | 35.15 ppb | +- | 1.44 ppb | 157.06 ppb | +- | 16.55 ppb | 125.28 ppb | +- | 11.12 ppb | 103.79 ppb | +- | 5.74 ppb | 17.38 ppm | +- | 1.99 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 1424.3 | +- | 503.8 | <47.53 |  |  | 15.113 | +- | 4.446 | 1797 | +- | 57.48
[6 empty] | (ppb or ppm) | 115.37 ppb | +- | 40.81 ppb | [6 empty] | 442.06 ppb | +- | 14.14 ppb
SNOLAB G013 | Sample from TAD Expansion Project | 919.2 g | 6.778 | 230531 | 2023-05-31 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Steel L-Shaped Holder Plate (Rabbit Ear) |  |  |  |  | 2023-06-07 | (mBq/kg) | 13.03 | +- | 1.52 | 22.28 | +- | 29.67 | <1.37 |  |  | 24.55 | +- | 1.984 | 289.01 | +- | 23.77 | <0.65 |  |  | <0.68
[6 empty] | (ppb or ppm) | 1.06 ppb | +- | 0.12 ppb | 1.8 ppb | +- | 2.4 ppb | <2.41 ppb |  |  | 6.04 ppb | +- | 0.49 ppb | 9.34 ppm | +- | 0.77 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | <529.90 |  |  | <11.56 |  |  | 1.1335 | +- | 0.6035 | 29.35 | +- | 3.19
[6 empty] | (ppb or ppm) | <42.92 ppb | [8 empty] | 7.22 ppb | +- | 0.78 ppb
SNOLAB G014 | Sample from TAD Expansion Project | 225.8 g | 2.034 | 230607 | 2023-06-07 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Shotcrete |  |  |  |  | 2023-06-09 | (mBq/kg) | 18330 | +- | 380.8 | 35880 | +- | 2108 | 941.5 | +- | 33.99 | 47100 | +- | 996.6 | 396360 | +- | 20320 | <25.43 |  |  | <70.98
[6 empty] | (ppb or ppm) | 1484.73 ppb | +- | 30.84 ppb | 2906.28 ppb | +- | 170.75 ppb | 1657.04 ppb | +- | 59.82 ppb | 11586.6 ppb | +- | 245.16 ppb | 12802.43 ppm | +- | 656.34 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 18328 | +- | 1792 | 158.97 | +- | 306.6 | 354.95 | +- | 43.54 | 39830 | +- | 959.4
[6 empty] | (ppb or ppm) | 1484.57 ppb | +- | 145.15 ppb | [6 empty] | 9798.18 ppb | +- | 236.01 ppb
SNOLAB G015 | Sample from TAD Expansion Project | 58.2 g | 11.618 | 230609 | 2023-06-09 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Chain – Two Links |  |  |  |  | 2023-06-21 | (mBq/kg) | <1.31 |  |  | <93.93 |  |  | <2.74 |  |  | 21.21 | +- | 4.438 | 126.43 | +- | 30.35 | <3.14 |  |  | <2.58
[6 empty] | (ppb or ppm) | <0.11 ppb |  |  | <7.61 ppb |  |  | <4.82 ppb |  |  | 5.22 ppb | +- | 1.09 ppb | 4.08 ppm | +- | 0.98 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | <423.80 |  |  | <23.09 |  |  | <2.93 |  |  | 13.61 | +- | 6.618
[6 empty] | (ppb or ppm) | <34.33 ppb | [8 empty] | 3.35 ppb | +- | 1.63 ppb
SNOLAB G016 | Grizzly Claw | 171.8 g | 3.923 | 240212 | 2024-02-12 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Kicking Horse Coffee | Kicking Horse Coffee Company |  |  |  | 2024-02-16 | (mBq/kg) | 35.48 | +- | 11.31 | <280.10 |  |  | <8.08 |  |  | 10.19 | +- | 8.433 | 336360 | +- | 17220 | 70.551 | +- | 16.09 | 14.02 | +- | 14.4
[6 empty] | (ppb or ppm) | 2.87 ppb | +- | 0.92 ppb | <22.69 ppb |  |  | <14.22 ppb |  |  | 2.51 ppb | +- | 2.07 ppb | 10864.43 ppm | +- | 556.21 ppm
| Coffee Used Underground at SNOLAB |  |  |  |  | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac:
[6 empty] | (mBq/kg) | <118.40 |  |  | <64.64 |  |  | 37.266 | +- | 14.12 | 62.02 | +- | 40.58
[6 empty] | (ppb or ppm) | <9.59 ppb | [8 empty] | 15.26 ppb | +- | 9.98 ppb
SNOLAB G017 | Ultra Spec 500 Interior Semi-Gloss F546 Paint | 483.5 g | 9.972 | 240216 | 2024-02-16 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Benjamin Moore Paint |  |  |  |  | 2024-02-26 | (mBq/kg) | 765.5 | +- | 19.16 | 1350 | +- | 111.2 | 30.87 | +- | 2.585 | 1367 | +- | 37.22 | 20995 | +- | 1085 | <3.63 |  |  | <1.86
| Benjamin Moore Inc, Concord ON |  |  |  |  | (ppb or ppm) | 62.01 ppb | +- | 1.55 ppb | 109.35 ppb | +- | 9.01 ppb | 54.33 ppb | +- | 4.55 ppb | 336.28 ppb | +- | 9.16 ppb | 678.14 ppm | +- | 35.05 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | <118.80 |  |  | 32.243 | +- | 26.84 | 9.0119 | +- | 3.254 | 1402 | +- | 40.4
[6 empty] | (ppb or ppm) | <9.62 ppb | [8 empty] | 344.89 ppb | +- | 9.94 ppb
SNOLAB G018 | 72% Cocoa | 201.3 g | 5.021 | 240425 | 2024-04-25 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Irresistibles Dark Chocolate | Made In Switzerland |  |  |  | 2024-04-30 | (mBq/kg) | 746.7 | +- | 26.5 | 828.1 | +- | 166 | 26.74 | +- | 5.656 | 405.3 | +- | 21.14 | 243680 | +- | 12480 | 113.43 | +- | 15.56 | <21.91
[6 empty] | (ppb or ppm) | 60.48 ppb | +- | 2.15 ppb | 67.08 ppb | +- | 13.45 ppb | 47.06 ppb | +- | 9.95 ppb | 99.7 ppb | +- | 5.2 ppb | 7870.86 ppm | +- | 403.1 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac:
[6 empty] | (mBq/kg) | <138.80 |  |  | <115.40 |  |  | <13.56 |  |  | 897.3 | +- | 49.21
[6 empty] | (ppb or ppm) | <11.24 ppb | [8 empty] | 220.74 ppb | +- | 12.11 ppb
SNOLAB G019 | 74% Cocoa | 201.0 g | 6.951 | 240430 | 2024-04-30 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Jacquot Dark Chocolate | Made in France |  |  |  | 2024-05-07 | (mBq/kg) | 1153 | +- | 33.19 | 874.1 | +- | 151.1 | 30.87 | +- | 4.945 | 662.3 | +- | 25.61 | 209130 | +- | 10710 | 100.57 | +- | 13.01 | <12.93
[6 empty] | (ppb or ppm) | 93.39 ppb | +- | 2.69 ppb | 70.8 ppb | +- | 12.24 ppb | 54.33 ppb | +- | 8.7 ppb | 162.93 ppb | +- | 6.3 ppb | 6754.9 ppm | +- | 345.93 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs:
[6 empty] | (mBq/kg) | <121.10 |  |  | <68.25 |  |  | 18.372 | +- | 10.04 | 1743 | +- | 61.38 | 33.98 | +- | 8.236
[6 empty] | (ppb or ppm) | <9.81 ppb | [8 empty] | 428.78 ppb | +- | 15.1 ppb
SNOLAB G20 | 7o% Cocoa | 199.9 g | 2.917 | 240507 | 2024-05-07 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Lindt Dark Chocolate | Made In Switzerland |  |  |  | 2024-05-10 | (mBq/kg) | 412.4 | +- | 21.78 | 179.2 | +- | 172.6 | 3.199 | +- | 5.879 | 213.2 | +- | 18.47 | 163750 | +- | 8435 | 55.188 | +- | 15.22 | <13.12
[6 empty] | (ppb or ppm) | 33.4 ppb | +- | 1.76 ppb | 14.52 ppb | +- | 13.98 ppb | 5.63 ppb | +- | 10.35 ppb | 52.45 ppb | +- | 4.54 ppb | 5289.13 ppm | +- | 272.45 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac: |  |  | 134Cs
[6 empty] | (mBq/kg) | <133.10 |  |  | <99.97 |  |  | <18.06 |  |  | 450.1 | +- | 44.64 | 13.22 | +- | 10.45
[6 empty] | (ppb or ppm) | <10.78 ppb | [8 empty] | 110.72 ppb | +- | 10.98 ppb
SNOLAB G021 | Swagelock, thread lubricant | 62.9 g | 6.789 | 241210 | 2024-12-10 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Swagelok Blue Goop |  |  |  |  | 2024-12-17 | (mBq/kg) | 476.2 | +- | 20.17 | 605.1 | +- | 120.2 | 6.941 | +- | 4.375 | 646.8 | +- | 27.88 | 4396.7 | +- | 297.9 | <11.65 |  |  | 6.463 | +- | 4.209
[6 empty] | (ppb or ppm) | 38.57 ppb | +- | 1.63 ppb | 49.01 ppb | +- | 9.74 ppb | 12.22 ppb | +- | 7.7 ppb | 159.11 ppb | +- | 6.86 ppb | 142.01 ppm | +- | 9.62 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | <211.30 |  |  | <211.30 |  |  | 4.7544 | +- | 5.32 | 707.8 | +- | 37.01
[6 empty] | (ppb or ppm) | [9 empty] | 174.12 ppb | +- | 9.1 ppb
SNOLAB G22 | Oct. 2024 Dep Sample Resin | - | 6.916 | 250128 | 2025-01-28 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Health Canada Resin Sample |  |  |  |  | 2025-02-04 | (mBq) | 0.5809 | +- | 0.4583 | <9.32 |  |  | <0.24 |  |  | 3.736 | +- | 0.5499 | 69.886 | +- | 7.144 | <0.29 |  |  | <0.084
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac: |  |  | 22Na
[6 empty] | (mBq | <12.30 |  |  | 837.69 | +- | 45.09 | <0.15 |  |  | 0.8513 | +- | 0.7486 | 0.9566 | +- | 0.2696
SNOLAB G23 | Nov. 2024 Dep Sample Resin | - | 13.159 | 250204 | 2025-02-04 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Health Canada Resin Sample |  |  |  |  | 2025-02-18 | (mBq) | <0.078 |  |  | <3.29 |  |  | <0.13 |  |  | 2.152 | +- | 0.3345 | 31.354 | +- | 3.523 | <0.17 |  |  | <0.13
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac: |  |  | 22Na
[6 empty] | (mBq | <11.76 |  |  | 548.46 | +- | 29.09 | <0.13 |  |  | 0.3838 | +- | 0.5104 | 0.81847 | +- | 0.1659
SNOLAB G24 | Nov. 2024 Inlet Filter | - | 5.979 | 290218 | 2025-02-18 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Health Canada Filter Sample |  |  |  |  | 2025-02-24 | (mBq) | <0.32 |  |  | <6.28 |  |  | <0.32 |  |  | 3.099 | +- | 0.518 | 16.788 | +- | 3.867 | <0.29 |  |  | <0.094
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac: |  |  | 22Na
[6 empty] | (mBq | <20.01 |  |  | 440.95 | +- | 25.6 | <0.21 |  |  | <0.94 |  |  | <0.077
SNOLAB G25 | Nov. 2024 Dep Filters 5-0.1 um | - | 7 | 250224 | 2025-02-24 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Health Canada Filter Sample |  |  |  |  | 2025-03-03 | (mBq) | <0.28 |  |  | <4.84 |  |  | <0.33 |  |  | 2.152 | +- | 0.4547 | 4.0069 | +- | 2.463 | <0.20 |  |  | <0.16
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac: |  |  | 22Na
[6 empty] | (mBq | <12.69 |  |  | 47.865 | +- | 4.845 | <0.18 |  |  | <1.10 |  |  | <0.20
SNOLAB G26 | Air Filter Puck | 1.124 g | 2.93 | 250314 | 2025-03-14 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Health Canada Air Monitoring Station Filter | 181 hours |  |  |  | 2025-03-17 | (mBq/kg) | 3167 | +- | 607.5 | 11130 | +- | 8129 | <721.80 |  |  | 767.5 | +- | 435.6 | 16854 | +- | 3932 | 139.89 | +- | 175 | <52.25
| 250219 – 250226 |  |  |  |  | (ppb or ppm) | 256.53 ppb | +- | 49.21 ppb | 901.53 ppb | +- | 658.45 ppb | <1270.37 ppb |  |  | 188.81 ppb | +- | 107.16 ppb | 544.38 ppm | +- | 127 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac: |  |  | 22Na
[6 empty] | (mBq/kg) | 12438000 | +- | 1280000 | 24724000 | +- | 2526000 | <240.40 |  |  | 719.6 | +- | 560.8 | 1467.1 | +- | 345.3
[6 empty] | (ppb or ppm) | 1007.48 ppm | +- | 103.68 ppm | [6 empty] | 177.02 ppb | +- | 137.96 ppb
SNOLAB G27 | Air Filter Puck | 1.173 g | 3.903 | 250317 | 2025-03-17 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Health Canada Air Monitoring Station Filter | 215 hours |  |  |  | 2025-03-21 | (mBq/kg) | 2663 | +- | 485.2 | 6724 | +- | 6534 | <574.80 |  |  | 1825 | +- | 464.6 | 20394 | +- | 3897 | 172.42 | +- | 156.6 | <91.44
| 250226 – 250307 |  |  |  |  | (ppb or ppm) | 215.7 ppb | +- | 39.3 ppb | 544.64 ppb | +- | 529.25 ppb | <1011.65 ppb |  |  | 448.95 ppb | +- | 114.29 ppb | 658.73 ppm | +- | 125.87 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac: |  |  | 22Na
[6 empty] | (mBq/kg) | 9074300 | +- | 904600 | 28149000 | +- | 2785000 | <109.20 |  |  | 1650 | +- | 546.8 | 1738.6 | +- | 338.2
[6 empty] | (ppb or ppm) | 735.02 ppm | +- | 73.27 ppm | [6 empty] | 405.9 ppb | +- | 134.51 ppb
SNOLAB G28 | Air Filter Puck | 1.103 g | 2.958 | 250321 | 2025-03-21 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Health Canada Air Monitoring Station Filter | 122 hours |  |  |  | 2025-03-24 | (mBq/kg) | 2603 | +- | 572.9 | <8982.00 |  |  | <665.10 |  |  | 967.9 | +- | 522.4 | 19743 | +- | 4293 | <294.60 |  |  | <135.40
| 250307 – 250312 |  |  |  |  | (ppb or ppm) | 210.84 ppb | +- | 46.4 ppb | <727.54 ppb |  |  | <1170.58 ppb |  |  | 238.1 ppb | +- | 128.51 ppb | 637.7 ppm | +- | 138.66 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac: |  |  | 22Na
[6 empty] | (mBq/kg) | 5123100 | +- | 536600 | 24745000 | +- | 2565000 | 96.796 | +- | 123.2 | 1792 | +- | 638 | 1800.4 | +- | 386.6
[6 empty] | (ppb or ppm) | 414.97 ppm | +- | 43.46 ppm | [6 empty] | 440.83 ppb | +- | 156.95 ppb
In Progress and To Be Measured:
Sample Description | Manufacturer | Mass (g) | Live Time (days) | Run Numbers | Counting Dates (if applicable)
Next Sample | [5 empty] | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
(mBq/kg)
[6 empty] | (ppb or ppm) | [8 empty] | .
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac:
(mBq)
(ppb or ppm)