## Collected Ge Detector Sample Re
Some Useful Information Concerning the results:
The Conversion factors for the primordial nuclides are given by: | [9 empty] | 1 Bq 238U/kg = 81 ppb U (81 x 10-9 gU/g) | [5 empty] | The 238U decay chain gammas used are: | [5 empty] | 226Ra: 186.1 keV
214Pb: 295.21 and 351.92 keV
214Bi: 609.31, 1120.29, 1764.49 and 2204.21 keV
The relationships are valid for any daughters in the 238U, 235U or 232Th chain only if the chain is in equilibrium. | [9 empty] | 1 Bq 232Th/kg = 246 ppb Th (246 x 10-9 gTh/g) | [5 empty] | The 232Th decay chain gammas used are: | [5 empty] | 212Pb: 238.63 and 300.09 keV
208Tl: 583.19 and 2614.53 keV,
228Ac: 911.21 keV
[10 empty] | 1 Bq 40K/kg = 32300 ppb K (32300 x 10-6 gK/g) | [5 empty] | The 40K decay chain gamma used is: | [5 empty] | 40K: 1460.83 keV
[10 empty] | 1 Bq 235U/kg = 1.76 ppm U (1.76 x 10-6 gU/g) | [5 empty] | The 235U decay chain gammas used are: | [5 empty] | 235U: 143.76, 163.33 and 205.31 keV
The measurements of the samples below take into account the background measurements. If a measurement is below the background then the upper bound shown is the 90% confidence limit.
U. of Calgary Measurements:
Sample Description | Manufacturer | Mass (g) | Live Time (days) | Run Numbers | Counting Dates (if applicable)
UCalgary G01 |  | 423.4 g | 3.916 | 250324 | 2025-03-24 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
RR1 Breathing Well Hole 3, 0-28 |  |  |  |  | 2025-03-28 | (mBq/kg) | 21530 | +- | 405.7 | 31030 | +- | 1655 | 1124 | +- | 30.26 | 18060 | +- | 442.6 | 374120 | +- | 19140 | 3805.2 | +- | 195.5 | <30.99
Sebastian Champagne | [5 empty] | (ppb or ppm) | 1.74 ppm | +- | 0.03 ppm | 2.51 ppm | +- | 0.13 ppm | 1.98 ppm | +- | 0.05 ppm | 4.44 ppm | +- | 0.11 ppm | 12084.08 ppm | +- | 618.22 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs:
[6 empty] | (mBq/kg) | 45258 | +- | 2555 | <245.60 |  |  | 166.97 | +- | 24.68 | 20100 | +- | 487.4 | 1043 | +- | 61.7
[6 empty] | (ppb or ppm) | 3.67 ppm | +- | 0.21 ppm | [6 empty] | 4.94 ppm | +- | 0.12 ppm
UCalgary G02 |  | 405.6 g | 2.923 | 250328 | 2025-03-28 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
RR1 Breathing Well Hole 3, 28-48 |  |  |  |  | 2025-03-31 | (mBq/kg) | 28190 | +- | 532.7 | 35920 | +- | 2046 | 1416 | +- | 68.7 | 22770 | +- | 561.4 | 461880 | +- | 23630 | 3667.1 | +- | 191.3 | <41.32
Sebastian Champagne | [5 empty] | (ppb or ppm) | 2.28 ppm | +- | 0.04 ppm | 2.91 ppm | +- | 0.17 ppm | 2.49 ppm | +- | 0.12 ppm | 5.6 ppm | +- | 0.14 ppm | 14918.72 ppm | +- | 763.25 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs:
[6 empty] | (mBq/kg) | 31095 | +- | 1976 | <274.30 |  |  | 133.96 | +- | 31.27 | 25730 | +- | 625.5 | 1335.3 | +- | 79.64
[6 empty] | (ppb or ppm) | 2.52 ppm | +- | 0.16 ppm | [6 empty] | 6.33 ppm | +- | 0.15 ppm
UCalgary G03 |  | 413.4 g | 2.229 | 250331 | 2025-03-31 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
RR1 Breathing Well Hole 3, 48-67 |  |  |  |  | 2025-04-02 | (mBq/kg) | 28640 | +- | 549.7 | 38760 | +- | 2167 | 1478 | +- | 41.76 | 23470 | +- | 582.2 | 468120 | +- | 23960 | 25832 | +- | 141.1 | <53.16
Sebastian Champagne | [5 empty] | (ppb or ppm) | 2.32 ppm | +- | 0.04 ppm | 3.14 ppm | +- | 0.18 ppm | 2.6 ppm | +- | 0.07 ppm | 5.77 ppm | +- | 0.14 ppm | 15120.28 ppm | +- | 773.91 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs:
[6 empty] | (mBq/kg) | 31017 | +- | 2058 | <309.10 |  |  | 218.49 | +- | 36.92 | 25950 | +- | 643.2 | 1282.2 | +- | 81.25
[6 empty] | (ppb or ppm) | 2.51 ppm | +- | 0.17 ppm | [6 empty] | 6.38 ppm | +- | 0.16 ppm
UCalgary G04 |  | 405.3 g | 4.804 | 250402 | 2025-04-02 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
RR1 Breathing Well Hole 3, 67-89 |  |  |  |  | 2025-04-07 | (mBq/kg) | 27010 | +- | 500.5 | 33260 | +- | 1764 | 1363 | +- | 34.73 | 21700 | +- | 526.7 | 446110 | +- | 22810 | 2659.3 | +- | 138.5 | 22.14 | +- | 17.64
Sebastian Champagne | [5 empty] | (ppb or ppm) | 2.19 ppm | +- | 0.04 ppm | 2.69 ppm | +- | 0.14 ppm | 2.4 ppm | +- | 0.06 ppm | 5.34 ppm | +- | 0.13 ppm | 14409.35 ppm | +- | 736.76 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs:
[6 empty] | (mBq/kg) | 33618 | +- | 1975 | 69.291 | +- | 190.3 | 197.79 | +- | 25.4 | 24310 | +- | 577.7 | 1260.9 | +- | 71.22
[6 empty] | (ppb or ppm) | 2.72 ppm | +- | 0.16 ppm | [6 empty] | 5.98 ppm | +- | 0.14 ppm
UCalgary G05 |  | 408.6 g | 3.909 | 250407 | 2025-04-07 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
RR1 40Ft, 0-27 |  |  |  |  | 2025-04-11 | (mBq/kg) | 28770 | +- | 536.3 | 36670 | +- | 1975 | 1395 | +- | 36.73 | 23650 | +- | 575.1 | 466650 | +- | 23860 | 3859.7 | +- | 199 | <34.81
Sebastian Champagne | [5 empty] | (ppb or ppm) | 2.33 ppm | +- | 0.04 ppm | 2.97 ppm | +- | 0.16 ppm | 2.46 ppm | +- | 0.06 ppm | 5.82 ppm | +- | 0.14 ppm | 15072.8 ppm | +- | 770.68 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs:
[6 empty] | (mBq/kg) | 24508 | +- | 1608 | <281.80 |  |  | 177.73 | +- | 28.08 | 26050 | +- | 624.7 | 1273.7 | +- | 74.13
[6 empty] | (ppb or ppm) | 1.99 ppm | +- | 0.13 ppm | [6 empty] | 6.41 ppm | +- | 0.15 ppm
UCalgary G06 |  | 413.3 g | 2.916 | 250411 | 2025-04-11 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
RR1 40Ft, 27-50 |  |  |  |  | 2025-04-14 | (mBq/kg) | 30610 | +- | 575.6 | 39750 | +- | 2179 | 1490 | +- | 39.9 | 24980 | +- | 611 | 501270 | +- | 25640 | 1822.86 | +- | 107.59 | 5.278 | +- | 23.87
Sebastian Champagne | [5 empty] | (ppb or ppm) | 2.48 ppm | +- | 0.05 ppm | 3.22 ppm | +- | 0.18 ppm | 2.62 ppm | +- | 0.07 ppm | 6.15 ppm | +- | 0.15 ppm | 16191.02 ppm | +- | 828.17 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs:
[6 empty] | (mBq/kg) | 23029 | +- | 1635 | <299.70 |  |  | 177.49 | +- | 32.6 | 27450 | +- | 665.4 | 1421 | +- | 83.91
[6 empty] | (ppb or ppm) | 1.87 ppm | +- | 0.13 ppm | [6 empty] | 6.75 ppm | +- | 0.16 ppm
UCalgary G07 |  | 406.8 g | 2.131 | 250414 | 2025-04-14 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
RR1 40Ft, 50-81 |  |  |  |  | 2025-04-16 | (mBq/kg) | 17750 | +- | 332.1 | 22748 | +- | 1206 | 867.8 | +- | 23.95 | 15870 | +- | 385.5 | 303920 | +- | 15550 | 199.21 | +- | 40.73 | <24.67
Sebastian Champagne | [5 empty] | (ppb or ppm) | 1.44 ppm | +- | 0.03 ppm | 1.84 ppm | +- | 0.1 ppm | 1.53 ppm | +- | 0.04 ppm | 3.9 ppm | +- | 0.09 ppm | 9816.62 ppm | +- | 502.27 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs:
[6 empty] | (mBq/kg) | 7841.7 | +- | 619.7 | 303.34 | +- | 171.7 | 100.44 | +- | 21.91 | 16610 | +- | 408.2 | 802.97 | +- | 50.39
[6 empty] | (ppb or ppm) | 0.64 ppm | +- | 0.05 ppm | [6 empty] | 4.09 ppm | +- | 0.1 ppm
UCalgary G08 |  | 414.4 g | 6.825 | 250416 | 2025-04-16 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
RR1 40Ft, 81-117 |  |  |  |  | 2025-04-23 | (mBq/kg) | 29790 | +- | 545.2 | 37700 | +- | 1894 | 1476 | +- | 35.88 | 24700 | +- | 593.8 | 519700 | +- | 26550 | 185.56 | +- | 16.42 | <25.49
Sebastian Champagne | [5 empty] | (ppb or ppm) | 2.41 ppm | +- | 0.04 ppm | 3.05 ppm | +- | 0.15 ppm | 2.6 ppm | +- | 0.06 ppm | 6.08 ppm | +- | 0.15 ppm | 16786.31 ppm | +- | 857.57 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs:
[6 empty] | (mBq/kg) | 24445 | +- | 1487 | <264.90 |  |  | 180.73 | +- | 22.45 | 26600 | +- | 623.7 | 1356.4 | +- | 73.87
[6 empty] | (ppb or ppm) | 1.98 ppm | +- | 0.12 ppm | [6 empty] | 6.54 ppm | +- | 0.15 ppm
In Progress and To Be Measured:
Sample Description | Manufacturer | Mass (g) | Live Time (days) | Run Numbers | Counting Dates (if applicable)
UCalgary G09 |  | 403.9 g | 4.478 | 250425 | 2025-04-23 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
RR1 BW Hole 1 0-29 |  |  |  |  | 2025-04-28 | (mBq/kg) | 23770 | +- | 444 | 30560 | +- | 1672 | 1172 | +- | 31.01 | 19220 | +- | 469.6 | 404110 | +- | 20660 | 3149.5 | +- | 162.9 | <20.80
Sebastian Champagne | [5 empty] | (ppb or ppm) | 1.93 ppm | +- | 0.04 ppm | 2.48 ppm | +- | 0.14 ppm | 2.06 ppm | +- | 0.05 ppm | 4.73 ppm | +- | 0.12 ppm | 13052.75 ppm | +- | 667.32 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs:
[6 empty] | (mBq/kg) | 37424 | +- | 2161 | 440.18 | +- | 190.2 | 120.87 | +- | 23.6 | 21110 | +- | 509 | 1104.4 | +- | 64.01
[6 empty] | (ppb or ppm) | 3.03 ppm | +- | 0.18 ppm | [6 empty] | 5.19 ppm | +- | 0.13 ppm
UCalgary G10 |  | 404.7 g |  |  |  | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
RR1 BW hole 2 0-24 | [5 empty] | (mBq/kg)
Sebastian Champagne | [5 empty] | (ppb or ppm) | 0 ppm | +- | 0 ppm | 0 ppm | +- | 0 ppm | 0 ppm | +- | 0 ppm | 0 ppm | +- | 0 ppm | 0 ppm | +- | 0 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs:
(mBq/kg)
[6 empty] | (ppb or ppm) | 0 ppm | +- | 0 ppm | [6 empty] | 0 ppm | +- | 0 ppm
UCalgary G11 |  | 403.9 g |  |  |  | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
RR1 BW Hole 2 24-51 | [5 empty] | (mBq/kg)
Sebastian Champagne | [5 empty] | (ppb or ppm) | 0 ppm | +- | 0 ppm | 0 ppm | +- | 0 ppm | 0 ppm | +- | 0 ppm | 0 ppm | +- | 0 ppm | 0 ppm | +- | 0 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
(mBq/kg)
[6 empty] | (ppb or ppm) | 0 ppm | +- | 0 ppm | [6 empty] | 0 ppm | +- | 0 ppm
UCalgary G12 |  | 393.5 g |  |  |  | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Soil Sample DG5-1 | [5 empty] | (mBq/kg)
Sebastian Champagne | [5 empty] | (ppb or ppm) | 0 ppm | +- | 0 ppm | 0 ppm | +- | 0 ppm | 0 ppm | +- | 0 ppm | 0 ppm | +- | 0 ppm | 0 ppm | +- | 0 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs:
(mBq/kg)
[6 empty] | (ppb or ppm) | 0 ppm | +- | 0 ppm | [6 empty] | 0 ppm | +- | 0 ppm
Next Sample | [5 empty] | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
(mBq/kg)
[6 empty] | (ppb or ppm) | [8 empty] | .
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac: |  | 210Po:
(mBq)
(ppb or ppm)