## Collected Ge Detector Sample Results
Some Useful Information Concerning the results:
The Conversion factors for the primordial nuclides are given by: | [9 empty] | 1 Bq 238U/kg = 81 ppb U (81 x 10-9 gU/g) | [5 empty] | The 238U decay chain gammas used are: | [5 empty] | 226Ra: 186.1 keV
214Pb: 295.21 and 351.92 keV
214Bi: 609.31, 1120.29, 1764.49 and 2204.21 keV
The relationships are valid for any daughters in the 238U, 235U or 232Th chain only if the chain is in equilibrium. | [9 empty] | 1 Bq 232Th/kg = 246 ppb Th (246 x 10-9 gTh/g) | [5 empty] | The 232Th decay chain gammas used are: | [5 empty] | 212Pb: 238.63 and 300.09 keV
208Tl: 583.19 and 2614.53 keV,
228Ac: 911.21 keV
[10 empty] | 1 Bq 40K/kg = 32300 ppb K (32300 x 10-6 gK/g) | [5 empty] | The 40K decay chain gamma used is: | [5 empty] | 40K: 1460.83 keV
[10 empty] | 1 Bq 235U/kg = 1.76 ppm U (1.76 x 10-6 gU/g) | [5 empty] | The 235U decay chain gammas used are: | [5 empty] | 235U: 143.76, 163.33 and 205.31 keV
Background Measurements of the Vue des Alpes Detector
Sample Description | Manufacturer | Mass (g) | Live Time (days) | Run Numbers | Counting Dates (if applicable)
Background 1 | Efficiency assumes no samples |  | 36.187 | 171213 171218 | 2017-12-13 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Completely Empty Detector |  |  |  |  | 2018-01-19 | (mBq) | 1.873 | +- | 0.1674 | 5.039 | +- | 1.612 | 0.0612 | +- | 0.05173 | 1.354 | +- | 0.1679 | 15.262 | +- | 1.927 | 0.2008 | +- | 0.096 | 0.06328 | +- | 0.05422
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac:
[6 empty] | (mBq) | 76.664 | +- | 14.04 | <0.67 |  |  | <0.081 |  |  | 0.8836 | +- | 0.2577
Background 2 | Efficiency assumes no samples |  | 17.497 | 180212 | 2018-02-12 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Completely Empty Detector |  |  |  |  | 2018-03-02 | (mBq) | 1.322 | +- | 0.2181 | 3.725 | +- | 2.318 | 0.2334 | +- | 0.07634 | 0.7936 | +- | 0.2178 | 18.386 | +- | 2.838 | 0.39164 | +- | 0.1591 | 0.02449 | +- | 0.08185
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac:
[6 empty] | (mBq) | 101.72 | +- | 20.73 | <0.98 |  |  | <0.12 |  |  | 1.033 | +- | 0.3662
Background 3 | Efficiency assumes no samples |  | 51.75 | 180319 180417 | 2018-03-18 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Completely Empty Detector |  |  |  |  | 2018-05-12 | (mBq) | 2.225 | +- | 0.1474 | 4.95 | +- | 1.385 | 0.14 | +- | 0.0455 | 1.274 | +- | 0.1334 | 17.109 | +- | 1.737 | 0.43336 | +- | 0.09 | <0.068
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac:
[6 empty] | (mBq) | 101.15 | +- | 12.63 | 0.5036 | +- | 0.55 | 0.075 | +- | 0.065 | 1.212 | +- | 0.2177
Background 4 | Efficiency assumes no samples |  | 82.542 | 180522 18053001 180801 | 2018-05-22 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Completely Empty Detector |  |  |  |  | 2018-08-12 | (mBq) | 2.053 | +- | 0.1186 | 6.239 | +- | 1.172 | 0.1237 | +- | 0.03392 | 1.328 | +- | 0.1141 | 15.52 | +- | 1.393 | 0.31949 | +- | 0.0674 | 0.1219 | +- | 0.03733
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac:
[6 empty] | (mBq) | 79.586 | +- | 9.876 | 0.731 | +- | 0.4578 | 0.0398 | +- | 0.04739 | 1.13 | +- | 0.18
Background 5 | Efficiency assumes no samples |  | 76.532 | 190910 190914 190915 | 2019-09-10 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Completely Empty Detector |  |  |  |  | 2019-11-28 | (mBq) | 2.04 | +- | 0.122 | 6.373 | +- | 1.193 | 0.133 | +- | 0.03459 | 1.164 | +- | 0.1159 | 16.218 | +- | 1.452 | 0.38528 | +- | 0.0757 | 0.097 | +- | 0.0385
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac:
[6 empty] | (mBq) | 82.073 | +- | 10.15 | 0.48395 | +- | 0.443 | <0.052 |  |  | 1.477 | +- | 0.1925
Background 6 | Efficiency assumes no samples |  | 55.304 | 200324 200430 | 2020-03-24 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Completely Empty Detector |  |  |  |  | 2020-05-19 | (mBq) | 3.397 | +- | 0.1763 | 7.801 | +- | 1.57 | 0.1535 | +- | 0.04259 | 2.404 | +- | 0.1694 | 29.088 | +- | 2.378 | 0.24865 | +- | 0.0871 | 0.03165 | +- | 0.05048
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac:
[6 empty] | (mBq) | 191.42 | +- | 21.95 | 0.48686 | +- | 0.5507 | 0.043088 | +- | 0.06009 | 2.092 | +- | 0.2595
Background 7 | Efficiency assumes no samples |  | 7.257 | 210111 210119 | 2021-01-11 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Completely Empty Detector |  |  |  |  | 2021-01-20 | (mBq) | 2.063 | +- | 0.3767 | 8.573 | +- | 3.769 | 0.2188 | +- | 0.1077 | 1.139 | +- | 0.3709 | 29.316 | +- | 5.234 | 0.36096 | +- | 0.2337 | <0.12
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac:
[6 empty] | (mBq) | 172.52 | +- | 44.42 | <1.55 |  |  | <0.21 |  |  | 1.727 | +- | 0.6023
Combined Background | Combined Backgrounds of Runs 1+2+3+4+5 |  | 238.322 |  |  | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Completely Empty Detector | Efficiency assumes no samples |  |  |  |  | (mBq) | 2.414 | +- | 0.094 | 6.61 | +- | 0.85 | 0.333 | +- | 0.06 | 1.534 | +- | 0.082 | 18.6526 | +- | 1.2214 | 0.4053 | +- | 0.0522 | 0.151 | +- | 0.026
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac:
[6 empty] | (mBq) | 99.2049 | +- | 7.7138 | 0.3194 | +- | 0.3263 | 0.0063 | +- | 0.0342 | 1.394 | +- | 0.041
Completed Sample Measurements Counted on the Vue des Alpes Detector
The measurements of the samples below take into account the background measurement shown above. If a measurement is below the background then the upper bound shown is the 90% confidence limit.
PICO Measurements:
Sample Description | Manufacturer | Mass (g) | Live Time (days) | Run Numbers | Counting Dates (if applicable)
PICO V01 | Model No. S1328PD3T72 Omega | 60.1 g | 15.659 | 200825 | 2020-08-25 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
White RTD Wire Leads |  |  |  |  | 2020-09-10 | (mBq/kg) | 5.375 | +- | 7.215 | <127.80 |  |  | 2.542 | +- | 2.395 | <9.16 |  |  | 69.281 | +- | 72.04 | <5.89 |  |  | <1.78
[6 empty] | (ppb or ppm) | 0 | +- | 0 | 0 |  |  | 0 | +- | 0 | 0 |  |  | 0 | +- | 0
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac:
[6 empty] | (mBq/kg) | 140700 | +- | 38520 | <53.17 |  |  | <1.90 |  |  | <14.98
[6 empty] | (ppb or ppm) | 0 | +- | 0 | [6 empty] | 0
PICO V02 | Model No. S1328PD3T72 Omega | 23.9 g | 11.639 | 200910 | 2020-09-10 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Red RTD Wire Leads |  |  |  |  | 2020-09-22 | (mBq/kg) | 4.669 | +- | 20.77 | <422.90 |  |  | 6.185 | +- | 6.586 | <27.98 |  |  | 74.988 | +- | 232.8 | <17.53 |  |  | <3.64
[6 empty] | (ppb or ppm) | 0 | +- | 0 | 0 |  |  | 0 | +- | 0 | 0 |  |  | 0 | +- | 0
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac:
[6 empty] | (mBq/kg) | 148160 | +- | 69770 | 132.14 | +- | 84.27 | <14.75 |  |  | <42.97
[6 empty] | (ppb or ppm) | 0 | +- | 0 | [6 empty] | 0
PICO V03 | Hard Copper Wire | 45.2 g | 13.687 | 200922 | 2020-09-22 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
PICO Heater Cables |  |  |  |  | 2020-10-06 | (mBq/kg) | <13.25 |  |  | <127.70 |  |  | <3.89 |  |  | 6.695 | +- | 9.819 | <148.60 |  |  | 9.1666 | +- | 6.88 | <5.33
[6 empty] | (ppb or ppm) | 0 |  |  | 0 |  |  | 0 |  |  | 0 | +- | 0 | 0
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac: |  |  | 58Co |  |  | 57Co
[6 empty] | (mBq/kg) | 143110 | +- | 62600 | 3.3293 | +- | 41.87 | 2.5467 | +- | 4.666 | 21.23 | +- | 16.07 | 0.54315 | +- | 3.654 | 7.049 | +- | 6.27
[6 empty] | (ppb or ppm) | 0 | +- | 0 | [6 empty] | 0 | +- | 0
PICO V04 | Preamps for Piezos for the PICO and SBC experiments | 21.2 g | 25.61 | 210421 210429 | 2021-04-21 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Kapton Preamp Boards |  | Quantity: 28 |  |  | 2021-05-17 | (mBq/kg) | 1504 | +- | 45.52 | 4544 | +- | 459.1 | 89.11 | +- | 7.122 | 2226 | +- | 71.56 | 4239.8 | +- | 321.9 | <9.34 |  |  | <5.98
[6 empty] | (ppb or ppm) | 0 | +- | 0 | 0 | +- | 0 | 0 | +- | 0 | 0 | +- | 0 | 0 | +- | 0
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac:
[6 empty] | (mBq/kg) | 259030 | +- | 88590 | <108.00 |  |  | 12.595 | +- | 9.45 | 2254 | +- | 80.58
[6 empty] | (ppb or ppm) | 0 | +- | 0 | [6 empty] | 0 | +- | 0
PICO V05 | BLU-25751706 Lot 230328 3/32 “ x 7” | 276.2 g | 5.088 | 231026 23102601 231028 231029 | 2023-10-26 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Tungsten Ceriated Welding Electrodes | Air Liquide, Blueshield, Made in China |  |  | 231030 | 2023-10-31 | (mBq/kg) | <186.40 |  |  | 9577 | +- | 4406 | <193.20 |  |  | 570400 | +- | 13220 | 14541 | +- | 902.7 | 61.79 | +- | 71.9 | <50.83
| Sample contains 20 electrodes |  |  |  |  | (ppb or ppm) | 0 |  |  | 0 | +- | 0 | 0 |  |  | 0 | +- | 0 | 0 | +- | 0
| This is the standard background to be subtracted from samples beginning on May 25, 2018 |  |  |  |  | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac:
[6 empty] | (mBq/kg) | <2.62E6 |  |  | 2903 | +- | 633.1 | 2985.6 | +- | 182.1 | 207300 | +- | 4975
[6 empty] | (ppb or ppm) | 0 | [8 empty] | 0 | +- | 0
PICO V06 | BLU-25751706 Lot 220713 3/32 “ x 7” | 422.2 g | 4.687 | 231031 23103101 231101 231102 231103 | 2023-10-31 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Tungsten Ceriated Welding Electrodes | Air Liquide, Blueshield, Made in China |  |  |  | 2023-11-05 | (mBq/kg) | <68.47 |  |  | 927.8 | +- | 1908 | 64.68 | +- | 53.28 | 93870 | +- | 2196 | 7938.6 | +- | 475.8 | <66.87 |  |  | <10.82
| Sample contains 30 electrodes |  |  |  |  | (ppb or ppm) | 0 |  |  | 0 | +- | 0 | 0 | +- | 0 | 0 | +- | 0 | 0 | +- | 0
| This is the standard background to be subtracted from samples beginning on May 25, 2018 |  |  |  |  | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac:
[6 empty] | (mBq/kg) | 2324000 | +- | 2368000 | 1866.6 | +- | 317.7 | 1527 | +- | 84.04 | 105300 | +- | 2557
[6 empty] | (ppb or ppm) | 0 | +- | 0 | [6 empty] | 0 | +- | 0
PICO V07 | BLU-25751708 Lot 230204 1/8 “ x 7” | 251.5 g | 3.126 | 231105 | 2023-11-05 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Tungsten Ceriated Welding Electrodes | Air Liquide, Blueshield, Made in China |  |  |  | 2023-11-08 | (mBq/kg) | <115.70 |  |  | <7092.00 |  |  | <235.50 |  |  | 577200 | +- | 13410 | 16792 | +- | 1114 | <111.70 |  |  | <59.50
| Sample contains 10 electrodes |  |  |  |  | (ppb or ppm) | 0 |  |  | 0 |  |  | 0 |  |  | 0 | +- | 0 | 0 | +- | 0
| This is the standard background to be subtracted from samples beginning on May 25, 2018 |  |  |  |  | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac:
[6 empty] | (mBq/kg) | <7.92E6 |  |  | 3190.9 | +- | 949.6 | 3172.3 | +- | 181.6 | 222400 | +- | 5483
[6 empty] | (ppb or ppm) | 0 | [8 empty] | 0 | +- | 0
PICO V08 | BLU-25751708 Lot 230515 1/8 “ x 7” | 1004.4 g | 7.786 | 231108 | 2023-11-08 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Tungsten Ceriated Welding Electrodes | Air Liquide, Blueshield, Made in China |  |  |  | 2023-11-16 | (mBq/kg) | <33.37 |  |  | 263.4 | +- | 2273 | 299.5 | +- | 113.6 | 599300 | +- | 14060 | 17403 | +- | 929.6 | <59.25 |  |  | <14.68
| Sample contains 40 electrodes |  |  |  |  | (ppb or ppm) | 0 |  |  | 0 | +- | 0 | 0 | +- | 0 | 0 | +- | 0 | 0 | +- | 0
| This is the standard background to be subtracted from samples beginning on May 25, 2018 |  |  |  |  | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac:
[6 empty] | (mBq/kg) | <1.79E7 |  |  | 3007.2 | +- | 395 | 2659.2 | +- | 146.1 | 213800 | +- | 5309
[6 empty] | (ppb or ppm) | 0 | [8 empty] | 0 | +- | 0
In Progress Sample Measurements Counted on the Vue des Alpes Detector
In Progress and To Be Measured:
Sample Description | Manufacturer | Mass (g) | Live Time (days) | Run Numbers | Counting Dates (if applicable)
Next Sample | [5 empty] | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
(mBq/kg)
(ppb or ppm)
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac:
(mBq/kg)
(ppb or ppm)