## Collected Ge Detector Sample Re
Some Useful Information Concerning the results:
The Conversion factors for the primordial nuclides are given by: | [9 empty] | 1 Bq 238U/kg = 81 ppb U (81 x 10-9 gU/g) | [5 empty] | The 238U decay chain gammas used are: | [5 empty] | 226Ra: 186.1 keV
214Pb: 295.21 and 351.92 keV
214Bi: 609.31, 1120.29, 1764.49 and 2204.21 keV
The relationships are valid for any daughters in the 238U, 235U or 232Th chain only if the chain is in equilibrium. | [9 empty] | 1 Bq 232Th/kg = 246 ppb Th (246 x 10-9 gTh/g) | [5 empty] | The 232Th decay chain gammas used are: | [5 empty] | 212Pb: 238.63 and 300.09 keV
208Tl: 583.19 and 2614.53 keV,
228Ac: 911.21 keV
[10 empty] | 1 Bq 40K/kg = 32300 ppb K (32300 x 10-6 gK/g) | [5 empty] | The 40K decay chain gamma used is: | [5 empty] | 40K: 1460.83 keV
[10 empty] | 1 Bq 235U/kg = 1.76 ppm U (1.76 x 10-6 gU/g) | [5 empty] | The 235U decay chain gammas used are: | [5 empty] | 235U: 143.76, 163.33 and 205.31 keV
Completed Sample Measurements Counted on the Vue des Alpes Detector
The measurements of the samples below take into account the background measurement shown above. If a measurement is below the background then the upper bound shown is the 90% confidence limit.
RAMPS Measurements:
Sample Description | Manufacturer | Mass (g) | Live Time (days) | Run Numbers | Counting Dates (if applicable)
RAMPS V01 | Thorlabs Inc. | 155.9 g | 23.516 | 240827 | 2024-08-27 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  | 60Co |  | Comments
Thorlabs PDA045 SiPM Detector | Window Material: Borosilicate Glass |  |  |  | 2024-09-20 | (mBq/kg) | 1600 | +- | 36.71 | 22440 | +- | 1020 | 410.3 | +- | 10 | 3366 | +- | 85.54 | 2576.2 | +- | 157.4 |  | N/A | 3.674 | +- | 3.281
| Detector Window Faces the HPGe Detector |  |  |  |  | (ppb or ppm) | 129.6 ppb | +- | 2.97 ppb | 1817.64 ppb | +- | 82.62 ppb | 722.13 ppb | +- | 17.6 ppb | 828.04 ppb | +- | 21.04 ppb | 83.21 ppm | +- | 5.08 ppm | Peak interference from 232Th progeny
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac:
[6 empty] | (mBq/kg) | 43311 | +- | 9088 | <56.44 |  |  | 34.521 | +- | 5.293 | 1947 | +- | 59.15
[6 empty] | (ppb or ppm) | 3.51 ppm | +- | 0.74 ppm | [6 empty] | 478.96 ppb | +- | 14.55 ppb
[6 empty] | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  | 60Co |  | Comments
(mBq/kg)
(ppm / ppb / ppt)
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
(mBq/kg)
(ppm / ppb / ppt)
In Progress Sample Measurements Counted on the Vue des Alpes Detector
In Progress and To Be Measured:
Sample Description | Manufacturer | Mass (g) | Live Time (days) | Run Numbers | Counting Dates (if applicable)
Next Sample | [5 empty] | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  | 60Co |  | Comments
(mBq/kg)
(ppb or ppm)
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac:
(mBq/kg)
(ppb or ppm)