## Collected Ge Detector Sample Re
Some Useful Information Concerning the results:
The Conversion factors for the primordial nuclides are given by: | [9 empty] | 1 Bq 238U/kg = 81 ppb U (81 x 10-9 gU/g) | [5 empty] | The 238U decay chain gammas used are: | [5 empty] | 226Ra: 186.1 keV
214Pb: 295.21 and 351.92 keV
214Bi: 609.31, 1120.29, 1764.49 and 2204.21 keV
The relationships are valid for any daughters in the 238U, 235U or 232Th chain only if the chain is in equilibrium. | [9 empty] | 1 Bq 232Th/kg = 246 ppb Th (246 x 10-9 gTh/g) | [5 empty] | The 232Th decay chain gammas used are: | [5 empty] | 212Pb: 238.63 and 300.09 keV
208Tl: 583.19 and 2614.53 keV,
228Ac: 911.21 keV
[10 empty] | 1 Bq 40K/kg = 32300 ppb K (32300 x 10-6 gK/g) | [5 empty] | The 40K decay chain gamma used is: | [5 empty] | 40K: 1460.83 keV
[10 empty] | 1 Bq 235U/kg = 1.76 ppm U (1.76 x 10-6 gU/g) | [5 empty] | The 235U decay chain gammas used are: | [5 empty] | 235U: 143.76, 163.33 and 205.31 keV
Completed Sample Measurements Counted on the Vue des Alpes Detector
The measurements of the samples below take into account the background measurement shown above. If a measurement is below the background then the upper bound shown is the 90% confidence limit.
U Calgary Measurements:
Sample Description | Manufacturer | Mass (g) | Live Time (days) | Run Numbers | Counting Dates (if applicable)
U Calgary Sediment V01 | Airdrie Residence Soil Samples | 308.9 g | 3.029 | 24072301 | 2024-07-23 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Airdrie Residence AR15-30A | Depth 15 to 30 cm |  |  |  | 2024-07-26 | (mBq/kg) | 29970 | +- | 591.5 | 51310 | +- | 3493 | 1451 | +- | 46.12 | 26740 | +- | 669.4 | 456400 | +- | 23390 | 1468.21 | +- | 47.33 | 20.44 | +- | 35.53
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 2.43 ppm | +- | 0.05 ppm | 4.16 ppm | +- | 0.28 ppm | 2.55 ppm | +- | 0.08 ppm | 6.58 ppm | +- | 0.16 ppm | 14741.72 ppm | +- | 755.5 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 129792.86 | +- | 51714.38 | 537.74 | +- | 343.2 | 377.19 | +- | 48.1 | 25830 | +- | 668
[6 empty] | (ppm / ppb / ppt) | 10.51 ppm | +- | 4.19 ppm | [6 empty] | 6.35 ppm | +- | 0.16 ppm
U Calgary Sediment V02 | Airdrie Residence Soil Samples | 345.5 g | 3.832 | 240726 | 2024-07-26 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Airdrie Residence AR30-43A | Depth 30 to 43 cm |  |  |  | 2024-07-30 | (mBq/kg) | 27530 | +- | 528.5 | 50350 | +- | 2967 | 1228 | +- | 36.8 | 21140 | +- | 522.8 | 347210 | +- | 17790 | 112.86 | +- | 27.01 | <20.31
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 2.23 ppm | +- | 0.04 ppm | 4.08 ppm | +- | 0.24 ppm | 2.16 ppm | +- | 0.06 ppm | 5.2 ppm | +- | 0.13 ppm | 11214.88 ppm | +- | 574.62 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 101317.67 | +- | 37745.8 | 811.77 | +- | 256.7 | 326.09 | +- | 36.35 | 19630 | +- | 508.9
[6 empty] | (ppm / ppb / ppt) | 8.21 ppm | +- | 3.06 ppm | [6 empty] | 4.83 ppm | +- | 0.13 ppm
U Calgary Sediment V03 | Airdrie Residence Soil Samples | 148.9 g | 3.014 | 240730 | 2024-07-30 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Airdrie Residence AR43-50A | Depth 43 to 50 cm |  |  |  | 2024-08-02 | (mBq/kg) | 27490 | +- | 558.1 | 50580 | +- | 3575 | 1309 | +- | 44.61 | 24380 | +- | 622.2 | 428500 | +- | 22070 | 1460.9 | +- | 97.22 | <64.73
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 2.23 ppm | +- | 0.05 ppm | 4.1 ppm | +- | 0.29 ppm | 2.3 ppm | +- | 0.08 ppm | 6 ppm | +- | 0.15 ppm | 13840.55 ppm | +- | 712.86 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 166511.36 | +- | 100457.05 | 2421.1 | +- | 409 | 500.25 | +- | 57.75 | 23150 | +- | 621.9
[6 empty] | (ppm / ppb / ppt) | 13.49 ppm | +- | 8.14 ppm | [6 empty] | 5.69 ppm | +- | 0.15 ppm
U Calgary Sediment V04 | Charleswood Residence Soil Samples | 27.0 g | 3.9 | 240802 | 2024-08-02 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Charleswood Residence CR0-10 | Depth 0 to 10 cm |  |  |  | 2024-08-06 | (mBq/kg) | 20940 | +- | 509.7 | 53210 | +- | 3936 | 1102 | +- | 53.26 | 17510 | +- | 530.7 | 357150 | +- | 18740 | 1998.1 | +- | 149.8 | <92.66
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 1.7 ppm | +- | 0.04 ppm | 4.31 ppm | +- | 0.32 ppm | 1.94 ppm | +- | 0.09 ppm | 4.31 ppm | +- | 0.13 ppm | 11535.95 ppm | +- | 605.3 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 132800 | +- | 163700 | 985.66 | +- | 568.5 | 246.15 | +- | 78.6 | 16390 | +- | 561.6
[6 empty] | (ppm / ppb / ppt) | 10.76 ppm | +- | 13.26 ppm | [6 empty] | 4.03 ppm | +- | 0.14 ppm
U Calgary Sediment V05 | Charleswood Residence Soil Samples | 39.1 g | 2.935 | 240806 | 2024-08-06 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Charleswood Residence CR10-20 | Depth 10 to 20 cm |  |  |  | 2024-08-09 | (mBq/kg) | 18920 | +- | 467.5 | 46840 | +- | 3442 | 967 | +- | 49.72 | 15750 | +- | 481.1 | 302000 | +- | 15880 | 1252.1 | +- | 116.3 | 62.03 | +- | 63.19
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 1.53 ppm | +- | 0.04 ppm | 3.79 ppm | +- | 0.28 ppm | 1.7 ppm | +- | 0.09 ppm | 3.87 ppm | +- | 0.12 ppm | 9754.6 ppm | +- | 512.92 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 278890 | +- | 155400 | <557.50 |  |  | 259.44 | +- | 74.7 | 15130 | +- | 522.4
[6 empty] | (ppm / ppb / ppt) | 22.59 ppm | +- | 12.59 ppm | [6 empty] | 3.72 ppm | +- | 0.13 ppm
U Calgary Sediment V06 | Charleswood Residence Soil Samples | 43.5 g | 3.918 | 240809 | 2024-08-09 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Charleswood Residence CR20-30 | Depth 20 to 30 cm |  |  |  | 2024-08-13 | (mBq/kg) | 19800 | +- | 455.9 | 40710 | +- | 3048 | 949.1 | +- | 43.61 | 15350 | +- | 450.2 | 289290 | +- | 15090 | 1688.8 | +- | 121.3 | 70.09 | +- | 53.55
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 1.6 ppm | +- | 0.04 ppm | 3.3 ppm | +- | 0.25 ppm | 1.67 ppm | +- | 0.08 ppm | 3.78 ppm | +- | 0.11 ppm | 9344.07 ppm | +- | 487.41 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 218290 | +- | 125300 | 544.9 | +- | 448.5 | 317.34 | +- | 65.07 | 15410 | +- | 492.1
[6 empty] | (ppm / ppb / ppt) | 17.68 ppm | +- | 10.15 ppm | [6 empty] | 3.79 ppm | +- | 0.12 ppm
U Calgary Sediment V07 | Porcupine Hills Soil Samples | 79.3 g | 2.927 | 240813 | 2024-08-13 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Porcupine Hills PHfor |  |  |  |  | 2024-08-16 | (mBq/kg) | 13910 | +- | 327.8 | 30690 | +- | 2243 | 609.8 | +- | 31.94 | 8905 | +- | 272.3 | 239350 | +- | 7378 | 76.28 | +- | 29.34 | <57.99
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 1.13 ppm | +- | 0.03 ppm | 2.49 ppm | +- | 0.18 ppm | 1.07 ppm | +- | 0.06 ppm | 2.19 ppm | +- | 0.07 ppm | 7731.01 ppm | +- | 238.31 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 38875.06 | +- | 28733.74 | 320.73 | +- | 325.8 | 150.39 | +- | 44.69 | 8493 | +_ | 300.6
[6 empty] | (ppm / ppb / ppt) | 3.15 ppm | +- | 2.33 ppm | [6 empty] | 2.09 ppm | +- | 0.07 ppm
U Calgary Sediment V08 | Spy Hill Soil Samples | 68.8 g | 6.909 | 240816 | 2024-08-16 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Spy Hills SHfor |  |  |  |  | 2024-08-23 | (mBq/kg) | 33880 | +- | 669.7 | 63130 | +- | 3956 | 1534 | +- | 47.67 | 29290 | +- | 737 | 490430 | +- | 25180 | 200.83 | +- | 54.63 | 73.838 | +- | 50.82
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 2.74 ppm | +- | 0.05 ppm | 5.11 ppm | +- | 0.32 ppm | 2.7 ppm | +- | 0.08 ppm | 7.21 ppm | +- | 0.18 ppm | 15840.89 ppm | +- | 813.31 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 15606.14 | +- | 6092.24 | 708.14 | +- | 379.7 | 492.96 | +- | 58.71 | 27410 | +- | 717.1
[6 empty] | (ppm / ppb / ppt) | 1.26 ppm | +- | 0.49 ppm | [6 empty] | 6.74 ppm | +- | 0.18 ppm
U Calgary Sediment V09 | Breathing Well Soil Samples | 54.0 g | 4.008 | 240823 | 2024-08-23 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Breathing well BW0-10 | Depth: 0 to 10 cm |  |  |  | 2024-08-27 | (mBq/kg) | 34500 | +- | 737 | 68030 | +- | 4834 | 1620 | +- | 61.38 | 31040 | +- | 830.3 | 570150 | +- | 29410 | 4449.8 | +- | 255.5 | 61.67 | +- | 67.61
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 2.79 ppm | +- | 0.06 ppm | 5.51 ppm | +- | 0.39 ppm | 2.85 ppm | +- | 0.11 ppm | 7.64 ppm | +- | 0.2 ppm | 18415.85 ppm | +- | 949.94 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
[6 empty] | (mBq/kg) | 14584.1 | +- | 5722.88 | <842.90 |  |  | 441.35 | +- | 863.48 | 29360 | +- | 829.1
[6 empty] | (ppm / ppb / ppt) | 1.18 ppm | +- | 0.46 ppm | [6 empty] | 7.22 ppm | +- | 0.2 ppm
U Calgary Sediment V10 | Vermillion Core Samples GM1 10-12 | 401.5 g | 2.975 | 250203 | 2025-02-03 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Vermillion Core Sample GM1 10-12 |  |  |  |  | 2025-02-06 | (mBq/kg) | 20870 | +- | 419.5 | 43010 | +- | 2821 | 1029 | +- | 447.5 | 17530 | +- | 447.5 | 534000 | +- | 27330 |  | NA |  | <32.26
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 1.69 ppm | +- | 0.03 ppm | 3.48 ppm | +- | 0.23 ppm | 1.81 ppm | +- | 0.79 ppm | 4.31 ppm | +- | 0.11 ppm | 17248.2 ppm | +- | 882.76 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs
[6 empty] | (mBq/kg) | <112600.00 |  |  | 385.27 | +- | 271 | 347.94 | +- | 40.46 | 16760 | +- | 455.8 | 455.13 | +- | 55.47
[6 empty] | (ppm / ppb / ppt) | <9.12 ppm | [8 empty] | 4.12 ppm | +- | 0.11 ppm
U Calgary Sediment V11 | Vermillion Core Samples GM1 21-23 | 297.0g | 3.78 | 250206 | 2025-02-06 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Vermillion Core Sample GM1 21-23 |  |  |  |  | 2025-02-10 | (mBq/kg) | 18610 | +- | 383.4 | 41810 | +- | 2901 | 953 | +- | 33.43 | 16480 | +- | 428 | 649390 | +- | 33230 |  | NA |  | <32.24
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 1.51 ppm | +- | 0.03 ppm | 3.39 ppm | +- | 0.23 ppm | 1.68 ppm | +- | 0.06 ppm | 4.05 ppm | +- | 0.11 ppm | 20975.3 ppm | +- | 1073.33 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs
[6 empty] | (mBq/kg) | <155600.00 |  |  | 94.291 | +- | 279.5 | 283.03 | +- | 40.9 | 16120 | +- | 444 | 527.04 | +- | 59.11
[6 empty] | (ppm / ppb / ppt) | <12.6 ppm | [8 empty] | 3.97 ppm | +- | 0.11 ppm
U Calgary Sediment V12 | Vermillion Core Samples GM1 38-40 | 475.3 g | 7.82 | 250210 250211 25021101 | 2025-02-10 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Vermillion Core Sample GM1 38-40 |  |  |  |  | 2025-02-18 | (mBq/kg) | 27770 | +- | 517.1 | 38410 | +- | 2257 | 1260 | +- | 32.6 | 20130 | +- | 483.9 | 482170 | +- | 24640 |  | NA |  | <35.05
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 2.25 ppm | +- | 0.04 ppm | 3.11 ppm | +- | 0.18 ppm | 2.22 ppm | +- | 0.06 ppm | 4.95 ppm | +- | 0.12 ppm | 15574.09 ppm | +- | 795.87 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs
[6 empty] | (mBq/kg) | 66623 | +- | 63020 | 238.72 | +- | 165.7 | 333.53 | +- | 27.31 | 18410 | +- | 455.9 | 479.85 | +- | 38.73
[6 empty] | (ppm / ppb / ppt) | 5.4 ppm | +- | 5.1 ppm | [6 empty] | 4.53 ppm | +- | 0.11 ppm
U Calgary Sediment V13 | Vermillion Core Samples GM1 49-51 | 422.7 g | 4.378 | 250218 | 2025-02-18 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Vermillion Core Sample GM1 49-51 |  |  |  |  | 2025-02-24 | (mBq/kg) | 20550 | +- | 401.8 | 39560 | +- | 2416 | 945.3 | +- | 29.52 | 16390 | +- | 410.2 | 512920 | +- | 26230 |  | NA |  | <34.78
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 1.66 ppm | +- | 0.03 ppm | 3.2 ppm | +- | 0.2 ppm | 1.66 ppm | +- | 0.05 ppm | 4.03 ppm | +- | 0.1 ppm | 16567.32 ppm | +- | 847.23 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs
[6 empty] | (mBq/kg) | 53532 | +- | 80710 | 528.82 | +- | 215 | 213.53 | + | 30.49 | 15510 | +- | 408.9 | 391.23 | +- | 44.53
[6 empty] | (ppm / ppb / ppt) | 4.34 ppm | +- | 6.54 ppm | [6 empty] | 3.82 ppm | +- | 0.1 ppm
U Calgary Sediment V14 | Vermillion Core Samples GM1 58-60 | 456.2 g | 7.079 | 290224 | 2025-02-24 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Vermillion Core Sample GM1 58-60 |  |  |  |  | 2025-03-03 | (mBq/kg) | 25730 | +- | 501 | 44680 | +- | 2523 | 1271 | +- | 33.58 | 20950 |  | 504.8 | 487670 | +- | 24920 |  | NA |  | <16.77
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 2.08 ppm | +- | 0.04 ppm | 3.62 ppm | +- | 0.2 ppm | 2.24 ppm | +- | 0.06 ppm | 5.15 ppm | +- | 0.12 ppm | 15751.74 ppm | +- | 804.92 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs
[6 empty] | (mBq/kg) | 6769.8 | +- | 66660 | 417.9 | +- | 175.9 | 259.37 | +- | 25.75 | 19570 | +- | 483.9 | 520.63 | +- | 41.67
[6 empty] | (ppm / ppb / ppt) | 0.55 ppm | +- | 5.4 ppm | [6 empty] | 4.81 ppm | +- | 0.12 ppm
U Calgary Sediment V15 | Vermillion Core Samples GM2 17-19 | 516.8 g | 3.748 | 250303 | 2025-03-03 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Vermillion Core Sample GM2 17-19 |  |  |  |  | 2025-03-07 | (mBq/kg) | 22580 | +- | 434.6 | 34220 | +- | 2185 | 953.9 | +- | 29.62 | 14900 | +- | 374.8 | 399950 | +- | 20460 |  | NA |  | <48.14
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 1.83 ppm | +- | 0.04 ppm | 2.77 ppm | +- | 0.18 ppm | 1.68 ppm | +- | 0.05 ppm | 3.67 ppm | +- | 0.09 ppm | 12918.39 ppm | +- | 660.86 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs
[6 empty] | (mBq/kg) | <118500.00 |  |  | 350.13 | +- | 206.4 | 197 | +- | 28.47 | 13420 | +- | 365.3 | 343.23 | +- | 41.43
[6 empty] | (ppm / ppb / ppt) | <9.6 ppm | [8 empty] | 3.3 ppm | +- | 0.09 ppm
U Calgary Sediment V16 | Vermillion Core Samples GM2 27-29 | 542.9 g | 2.977 | 250307 | 2025-03-07 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Vermillion Core Sample GM2 27-29 |  |  |  |  | 2025-03-10 | (mBq/kg) | 13380 | +- | 275.1 | 31590 | +- | 2014 | 831.4 | +- | 23.91 | 11920 | +- | 307.6 | 451600 | +- | 73110 |  | NA |  | <33.38
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 1.08 ppm | +- | 0.02 ppm | 2.56 ppm | +- | 0.16 ppm | 1.46 ppm | +- | 0.04 ppm | 2.93 ppm | +- | 0.08 ppm | 14586.68 ppm | +- | 2361.45 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs
[6 empty] | (mBq/kg) | <100800.00 |  |  | 183.78 | +- | 203.6 | 165.98 | +- | 28.63 | 10910 | +- | 309.2 | 189.73 | +- | 39.01
[6 empty] | (ppm / ppb / ppt) | <8.16 ppm | [8 empty] | 2.68 ppm | +- | 0.08 ppm
U Calgary Sediment V17 | Vermillion Core Samples GM2 37-39 | 245.5 g | 3.925 | 250317 | 2025-03-17 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Vermillion Core Sample GM2 37-39 |  |  |  |  | 2025-03-21 | (mBq/kg) | 24850 | +- | 502.9 | 57150 | +- | 3669 | 1331 | +- | 43 | 22210 | +- | 564.7 | 38910 | +- | 19920 |  | NA |  | <52.99
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 2.01 ppm | +- | 0.04 ppm | 4.63 ppm | +- | 0.3 ppm | 2.34 ppm | +- | 0.08 ppm | 5.46 ppm | +- | 0.14 ppm | 1256.79 ppm | +- | 643.42 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs
[6 empty] | (mBq/kg) | <146100.00 |  |  | 174.36 | +- | 182.5 | 185.68 | +- | 27.32 | 20970 | +- | 568.9 | 381.74 | +- | 40.31
[6 empty] | (ppm / ppb / ppt) | <11.83 ppm | [8 empty] | 5.16 ppm | +- | 0.14 ppm
U Calgary Sediment V18 | Vermillion Core Samples GM2 47-49 | 418.4 g | 2.678 | 250310 250312 25031201 250313 | 2025-03-10 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Vermillion Core Sample GM2 47-49 |  |  |  |  | 2025-03-14 | (mBq/kg) | 22530 | +- | 451.9 | 44080 | +- | 2933 | 1045 | +- | 36.12 | 17960 | +- | 459.1 | 524020 | +- | 26830 |  | NA |  | <42.93
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 1.82 ppm | +- | 0.04 ppm | 3.57 ppm | +- | 0.24 ppm | 1.84 ppm | +- | 0.06 ppm | 4.42 ppm | +- | 0.11 ppm | 16925.85 ppm | +- | 866.61 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs
[6 empty] | (mBq/kg) | <102900.00 |  |  | <524.50 |  |  | 297.26 | +- | 40.89 | 16450 | +- | 457.3 | 461.39 | +- | 58.01
[6 empty] | (ppm / ppb / ppt) | <8.33 ppm | [8 empty] | 4.05 ppm | +- | 0.11 ppm
U Calgary Sediment V19 | Vermillion Core Samples GM2 54-56 | 257.5 g | 2.922 | 250314 | 2025-03-14 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Vermillion Core Sample GM2 54-56 |  |  |  |  | 2025-03-17 | (mBq/kg) | 35890 | +- | 713 | 77530 | +- | 4701 | 1753 | +- | 56.23 | 28800 | +- | 730.1 | 644840 | +- | 33030 |  | NA |  | 25.32 | +- | 46.49
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 2.91 ppm | +- | 0.06 ppm | 6.28 ppm | +- | 0.38 ppm | 3.09 ppm | +- | 0.1 ppm | 7.08 ppm | +- | 0.18 ppm | 20828.33 ppm | +- | 1066.87 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs
[6 empty] | (mBq/kg) | <201700.00 |  |  | 648.38 | +- | 410.7 | 483.59 | +- | 60.18 | 28100 | +- | 750.3 | 588.01 | +- | 83.01
[6 empty] | (ppm / ppb / ppt) | <16.34 ppm | [8 empty] | 6.91 ppm | +- | 0.18 ppm
U Calgary Sediment V20 | Vermillion Core Samples GM3 26-28 | 379.6 g | 2.921 | 250321 | 2025-03-21 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Vermillion Core Sample GM3 26-28 |  |  |  |  | 2025-03-24 | (mBq/kg) | 17680 | +- | 365.5 | 39410 | +- | 2723 | 885.8 | +- | 32.63 | 15990 | +- | 414.9 | 576610 | +- | 29510 |  | NA |  | <67.21
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 1.43 ppm | +- | 0.03 ppm | 3.19 ppm | +- | 0.22 ppm | 1.56 ppm | +- | 0.06 ppm | 3.93 ppm | +- | 0.1 ppm | 18624.5 ppm | +- | 953.17 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs
[6 empty] | (mBq/kg) | <88190.00 |  |  | 278.28 | +- | 275 | 251.88 | +- | 39.42 | 15380 | +- | 429.1 | 467.63 | +- | 57.43
[6 empty] | (ppm / ppb / ppt) | <7.14 ppm | [8 empty] | 3.78 ppm | +- | 0.11 ppm
U Calgary Sediment V21 | Vermillion Core Samples GM3 36-38 | 379.9 g | 3.955 | 250324 | 2025-03-24 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Vermillion Core Sample GM3 36-38 |  |  |  |  | 2025-03-28 | (mBq/kg) | 26150 | +- | 507.8 | 53730 | +- | 2128 | 1234 | +- | 37.35 | 19800 | +- | 494.6 | 541700 | +- | 27710 |  | NA |  | <46.08
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 2.12 ppm | +- | 0.04 ppm | 4.35 ppm | +- | 0.17 ppm | 2.17 ppm | +- | 0.07 ppm | 4.87 ppm | +- | 0.12 ppm | 17496.91 ppm | +- | 895.03 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs
[6 empty] | (mBq/kg) | 130970 | +- | 100400 | 316.68 | +- | 266.4 | 314.02 | +- | 37.54 | 18530 | +- | 491 | 497.22 | +- | 53.7
[6 empty] | (ppm / ppb / ppt) | 10.61 ppm | +- | 8.13 ppm | [6 empty] | 4.56 ppm | +- | 0.12 ppm
U Calgary Sediment V22 | Vermillion Core Samples GM3 47-48 | 375.4 g | 2.949 | 250328 | 2025-03-28 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Vermillion Core Sample GM3 47-49 |  |  |  |  | 2025-03-31 | (mBq/kg) | 25800 |  | 529.1 | 45690 | +- | 3029 | 1308 | +- | 41.61 | 17920 | +- | 460.6 | 484400 | +- | 24810 |  | NA |  | <58.30
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 2.09 ppm | +- | 0.04 ppm | 3.7 ppm | +- | 0.25 ppm | 2.3 ppm | +- | 0.07 ppm | 4.41 ppm | +- | 0.11 ppm | 15646.12 ppm | +- | 801.36 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs
[6 empty] | (mBq/kg) | 121920 | +- | 112800 | 671.18 | +- | 296.8 | 226.68 | +- | 39.91 | 16960 | +- | 471.6 | 450.59 | +- | 59.06
[6 empty] | (ppm / ppb / ppt) | 9.88 ppm | +- | 9.14 ppm | [6 empty] | 4.17 ppm | +- | 0.12 ppm
U Calgary Sediment V23 | Vermillion Core Samples GM3 50-52 | 330.6 g | 2.233 | 250331 | 2025-03-31 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Vermillion Core Sample GM3 50-52 |  |  |  |  | 2025-04-02 | (mBq/kg) | 24420 | +- | 506.4 | 56030 | +- | 3655 | 1296 | +- | 46.54 | 19350 | +- | 510.1 | 537220 | +- | 27550 |  | NA |  | <22.54
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 1.98 ppm | +- | 0.04 ppm | 4.54 ppm | +- | 0.3 ppm | 2.28 ppm | +- | 0.08 ppm | 4.76 ppm | +- | 0.13 ppm | 17352.21 ppm | +- | 889.87 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs
[6 empty] | (mBq/kg) | 192360 | +- | 143600 | 13.832 | +- | 363.4 | 272.95 | +- | 50.46 | 19220 | +- | 544 | 487.81 | +- | 72.44
[6 empty] | (ppm / ppb / ppt) | 15.58 ppm | +- | 11.63 ppm | [6 empty] | 4.73 ppm | +- | 0.13 ppm
U Calgary Sediment V24 | Vermillion Core Samples GM3 53-55 | 400.5 g | 4.801 | 250402 | 2025-04-02 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Vermillion Core Sample GM3 53-55 |  |  |  |  | 2025-04-07 | (mBq/kg) | 25830 | +- | 495.4 | 49890 | +- | 2911 | 1273 | +- | 36.26 | 21320 | +- | 523.3 | 523700 | +- | 26780 |  | NA |  | <23.95
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 2.09 ppm | +- | 0.04 ppm | 4.04 ppm | +- | 0.24 ppm | 2.24 ppm | +- | 0.06 ppm | 5.24 ppm | +- | 0.13 ppm | 16915.51 ppm | +- | 864.99 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs
[6 empty] | (mBq/kg) | 88745 | +- | 90560 | <326.40 |  |  | 257.34 | +- | 32.94 | 19720 | +- | 506.4 | 504.53 | +- | 48.85
[6 empty] | (ppm / ppb / ppt) | 7.19 ppm | +- | 7.34 ppm | [6 empty] | 4.85 ppm | +- | 0.12 ppm
U Calgary Sediment V25 | Vermillion Core Samples GM3 56-58 | 517.4 g | 3.926 | 250407 | 2025-04-07 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Vermillion Core Sample GM3 56-58 |  |  |  |  | 2025-04-11 | (mBq/kg) | 25870 | +- | 494.3 | 49490 | +- | 2808 | 1172 | +- | 34.34 | 21070 | +- | 516.9 | 479500 | +- | 24520 |  | NA |  | <46.11
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 2.1 ppm | +- | 0.04 ppm | 4.01 ppm | +- | 0.23 ppm | 2.06 ppm | +- | 0.06 ppm | 5.18 ppm | +- | 0.13 ppm | 15487.85 ppm | +- | 792 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs
[6 empty] | (mBq/kg) | <115800.00 |  |  | 445.77 | +- | 224.9 | 300.5 | +- | 32.94 | 19030 | +- | 492.2 | 522.54 | +- | 49.16
[6 empty] | (ppm / ppb / ppt) | <9.38 ppm | [8 empty] | 4.68 ppm | +- | 0.12 ppm
U Calgary Sediment V26 | Vermillion Core Samples GM3 63-65 | 161.9 g | 2.935 | 250411 | 2025-04-11 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Vermillion Core Sample GM3 63-65 |  |  |  |  | 2025-04-14 | (mBq/kg) | 40780 | +- | 830.9 | 90720 | +- | 5907 | 2068 | +- | 70.39 | 34990 | +- | 900 | 765880 | +- | 39280 |  | NA |  | <65.01
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 3.3 ppm | +- | 0.07 ppm | 7.35 ppm | +- | 0.48 ppm | 3.64 ppm | +- | 0.12 ppm | 8.61 ppm | +- | 0.22 ppm | 24737.92 ppm | +- | 1268.74 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs
[6 empty] | (mBq/kg) | 111570 | +- | 217800 | 480.17 | +- | 545 | 677.9 | +- | 83.38 | 33010 | +- | 909 | 1545 | +- | 99.87
[6 empty] | (ppm / ppb / ppt) | 9.04 ppm | +- | 17.64 ppm | [6 empty] | 8.12 ppm | +- | 0.22 ppm
U Calgary Sediment V27 |  | 406.9 g | 2.151 | 250414 | 2025-04-14 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
RR1 13Ft, 0-32 |  |  |  |  | 2025-04-16 | (mBq/kg) | 30980 | +- | 616.1 | 56620 | +- | 3740 | 1351 | +- | 47.29 | 28100 | +- | 705.6 | 499870 | +- | 25620 | 3609.1 | +- | 195.1 | <46.73
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 2.51 ppm | +- | 0.05 ppm | 4.59 ppm | +- | 0.3 ppm | 2.38 ppm | +- | 0.08 ppm | 6.91 ppm | +- | 0.17 ppm | 16145.8 ppm | +- | 827.53 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs
[6 empty] | (mBq/kg) | 6557.5 | +- | 144400 | 434.55 | +- | 374.9 | 400.14 | +- | 52.39 | 26630 | +- | 711.1 | 696.13 | +- | 77.33
[6 empty] | (ppm / ppb / ppt) | 0.53 ppm | +- | 11.7 ppm | [6 empty] | 6.55 ppm | +- | 0.17 ppm
U Calgary Sediment V28 |  | 414.6 g | 6.804 | 250416 25041601 250423 | 2025-04-16 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
RR1 13Ft, 33-58 |  |  |  |  | 2025-04-23 | (mBq/kg) | 33120 | +- | 600.9 | 48120 | +- | 2810 | 1438 | +- | 38.3 | 30540 | +- | 729.5 | 537550 | +- | 27470 | 670.1 | +- | 43.29 | <15.83
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 2.68 ppm | +- | 0.05 ppm | 3.9 ppm | +- | 0.23 ppm | 2.53 ppm | +- | 0.07 ppm | 7.51 ppm | +- | 0.18 ppm | 17362.87 ppm | +- | 887.28 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs
[6 empty] | (mBq/kg) | 107060 | +- | 83860 | 634.11 | +- | 213.9 | 418 | +- | 34.77 | 27490 | +- | 670.5 | 759.36 | +- | 54.95
[6 empty] | (ppm / ppb / ppt) | 8.67 ppm | +- | 6.79 ppm | [6 empty] | 6.76 ppm | +- | 0.16 ppm
In Progress Sample Measurements Counted on the Vue des Alpes Detector
In Progress and To Be Measured:
Sample Description | Manufacturer | Mass (g) | Live Time (days) | Run Numbers | Counting Dates (if applicable)
U Calgary Sediment V29 |  | 410.6 g | 4.307 | 25042301 | 2025-04-23 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
RR1 13Ft, 58-87 |  |  |  |  | 2025-04-28 | (mBq/kg) | 33290 | +- | 632.8 | 49690 | +- | 3156 | 1392 | +- | 40.53 | 31040 | +- | 750.5 | 538040 | +- | 27520 | 1492.3 | +- | 86.68 | <34.04
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 2.7 ppm | +- | 0.05 ppm | 4.02 ppm | +- | 0.26 ppm | 2.45 ppm | +- | 0.07 ppm | 7.64 ppm | +- | 0.18 ppm | 17378.69 ppm | +- | 888.9 ppm | Interspec Correction
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac: |  | 134Cs
[6 empty] | (mBq/kg) | <81950.00 |  |  | 189.65 | +- | 271.1 | 518.66 | +- | 44.19 | 28310 | +- | 708.5 | 809.98 | +- | 64.91
[6 empty] | (ppm / ppb / ppt) | <6.64 ppm | [8 empty] | 6.96 ppm | +- | 0.17 ppm
U Calgary Sediment V30 |  | 423.5 g |  |  |  | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
RR1 13Ft, 87-109 | [5 empty] | (mBq/kg)
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 0 ppm | +- | 0 ppm | 0 ppm | +- | 0 ppm | 0 ppm | +- | 0 ppm | 0 ppm | +- | 0 ppm | 0 ppm | +- | 0 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
(mBq/kg)
[6 empty] | (ppm / ppb / ppt) | 0 ppm | +- | 0 ppm | [6 empty] | 0 ppm | +- | 0 ppm
U Calgary Sediment V31 |  | 395.9 g |  |  |  | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Soil Sample 1.5S | [5 empty] | (mBq/kg)
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 0 ppm | +- | 0 ppm | 0 ppm | +- | 0 ppm | 0 ppm | +- | 0 ppm | 0 ppm | +- | 0 ppm | 0 ppm | +- | 0 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
(mBq/kg)
[6 empty] | (ppm / ppb / ppt) | 0 ppm | +- | 0 ppm | [6 empty] | 0 ppm | +- | 0 ppm
U Calgary Sediment V32 |  | 409.0 g |  |  |  | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
Soil Sample 5E5S | [5 empty] | (mBq/kg)
Sebastian Champagne | [5 empty] | (ppm / ppb / ppt) | 0 ppm | +- | 0 ppm | 0 ppm | +- | 0 ppm | 0 ppm | +- | 0 ppm | 0 ppm | +- | 0 ppm | 0 ppm | +- | 0 ppm
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn |  |  | 228Ac:
(mBq/kg)
[6 empty] | (ppm / ppb / ppt) | 0 ppm | +- | 0 ppm | [6 empty] | 0 ppm | +- | 0 ppm
Next Sample | [5 empty] | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  |  | 137Cs |  |  | 60Co |  | Comments
(mBq/kg)
(ppb or ppm)
[6 empty] | Results: | 210Pb: |  |  |  | 7Be: |  |  | 54Mn: |  |  | 228Ac:
(mBq/kg)
(ppb or ppm)