## Collected Ge Detector Sample Re
Some Useful Information Concerning the results:
The Conversion factors for the primordial nuclides are given by: | [8 empty] | 1 Bq 238U/kg = 81 ppb U (81 x 10-9 gU/g) | [5 empty] | The 238U decay chain gammas used are: |  |  |  |  | 226Ra: 186.1 keV
214Pb: 295.21 and 351.92 keV
214Bi: 609.31, 1120.29, 1764.49 and 2204.21 keV
The relationships are valid for any daughters in the 238U, 235U or 232Th chain only if the chain is in equilibrium. | [8 empty] | 1 Bq 232Th/kg = 246 ppb Th (246 x 10-9 gTh/g) | [5 empty] | The 232Th decay chain gammas used are: |  |  |  |  | 212Pb: 238.63 and 300.09 keV
208Tl: 583.19 and 2614.53 keV,
228Ac: 911.21 keV
[9 empty] | 1 Bq 40K/kg = 32300 ppb K (32300 x 10-6 gK/g) | [5 empty] | The 40K decay chain gamma used is: |  |  |  |  | 40K: 1460.83 keV
[9 empty] | 1 Bq 235U/kg = 1.76 ppm U (1.76 x 10-6 gU/g) | [5 empty] | The 235U decay chain gammas used are: |  |  |  |  | 235U: 143.76, 163.33 and 205.31 keV
The measurements of the samples below take into account the background measurements. If a measurement is below the background then the upper bound shown is the 90% confidence limit.
COSINUS Measurements:
Sample Description | Manufacturer | Mass (g) | Live Time (days) | Counting Dates (if applicable)
COSINUS P01 |  |  |  |  | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  | 40K |  |  | 137Cs |  | 60Co | Comments
(mBq/kg)
(ppm / ppb / ppt)
[5 empty] | Results: |  | 7Be: |  |  | 54Mn | [5 empty] | 228Ac:
(mBq/kg)
(ppm / ppb / ppt)
COSINUS P02 |  |  |  |  | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  | 40K |  |  | 137Cs |  | 60Co | Comments
(mBq/kg)
(ppm / ppb / ppt)
[5 empty] | Results: |  | 7Be: |  |  | 54Mn | [5 empty] | 228Ac:
(mBq/kg)
(ppm / ppb / ppt)
In Progress and To Be Measured:
Sample Description | Manufacturer | Mass (g) | Live Time (days) | Counting Dates (if applicable)
COSINUS P01 | Goodfellow Cambridge Ltd. | 14.5 g | 25.93 | 2025-04-01 | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  | 40K |  |  | 137Cs |  | 60Co | Comments
Polyaramid Fiber | SO-04-0003703 JH 1000029571 500010951 |  | Run: 250401 250416 | 2025-04-28 | (mBq/kg) | 9.529 | +- | 11.32 | 67.97 | +- | 388.6 | 3.739 | +- | 6.835 | <20.99 |  | 566.28 | +- | 172.9 | <9.74 |  | <3.26
| Cache SDS Code: AR300 |  |  |  | (ppm / ppb / ppt) | 0.77 ppb | +- | 0.92 ppb | 5.51 ppb | +- | 31.48 ppb | 6.58 ppb | +- | 12.03 ppb | <5.16 ppb |  | 18.29 ppm | +- | 5.58 ppm
[5 empty] | Results: |  | 7Be: |  |  | 54Mn | [5 empty] | 228Ac:
[5 empty] | (mBq/kg) | <86.54 |  |  | <9.10 | [5 empty] | <39.80
[5 empty] | (ppm / ppb / ppt) | [9 empty] | <9.79 ppb
Next Sample |  |  |  |  | Results: |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  | 40K |  |  | 137Cs |  | 60Co | Comments
(mBq/kg)
(ppm / ppb / ppt)
[5 empty] | Results: |  | 7Be: |  |  | 54Mn | [5 empty] | 228Ac:
(mBq/kg)
(ppm / ppb / ppt)