## Collected Ge Detector Sample Re
Some Useful Information Concerning the results:
The Conversion factors for the primordial nuclides are given by: | [8 empty] | 1 Bq 238U/kg = 81 ppb U (81 x 10-9 gU/g) | [5 empty] | The 238U decay chain gammas used are: |  |  |  |  | 226Ra: 186.1 keV
214Pb: 295.21 and 351.92 keV
214Bi: 609.31, 1120.29, 1764.49 and 2204.21 keV
The relationships are valid for any daughters in the 238U, 235U or 232Th chain only if the chain is in equilibrium. | [8 empty] | 1 Bq 232Th/kg = 246 ppb Th (246 x 10-9 gTh/g) | [5 empty] | The 232Th decay chain gammas used are: |  |  |  |  | 212Pb: 238.63 and 300.09 keV
208Tl: 583.19 and 2614.53 keV,
228Ac: 911.21 keV
[9 empty] | 1 Bq 40K/kg = 32300 ppb K (32300 x 10-6 gK/g) | [5 empty] | The 40K decay chain gamma used is: |  |  |  |  | 40K: 1460.83 keV
[9 empty] | 1 Bq 235U/kg = 1.76 ppm U (1.76 x 10-6 gU/g) | [5 empty] | The 235U decay chain gammas used are: |  |  |  |  | 235U: 143.76, 163.33 and 205.31 keV
The measurements of the samples below take into account the background measurement. If a measurement is below the background then the upper bound shown is the 90% confidence limit.
DRIFT Measurements:
Sample Description | Manufacturer | Mass (g) | Live Time (days) | Counting Dates (if applicable) |  |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  | 137Cs |  |  | 60Co | Comments
DRIFT 1 | Astral Technology Unlimited Lot# 15-2913 | 2.1 g | 4.423 | 2011-12-14 | (mBq/kg) | 223.83 | +- | 319.79 | 26476.19 | +- | 19190.48 | <211.82 |  |  | <109.56 |  |  | <4056.00 |  | <366.29 |  |  | <168.22 |  | 210Po:
Aluminized Mylar | Mylar is polyethylene terephthalate polyester |  |  | 2011-12-19 | (ppb or ppm) | 18.13 ppb | +- | 25.80 ppb | 2.14 ppm | +- | 1.55 ppm | <372.79 ppb |  |  | <26.95 ppb |  |  | <131.01 ppm | [6 empty] | <507.10 Bq/kg
DRIFT 2 | Astral Technology Unlimited | 3.3 g | 6.654 | 2012-01-04 | (mBq/kg) | 174.94 | +- | 147.38 | <3023.82 |  |  | 37.93 | +- | 148.77 | 40.93 | +- | 147.83 | <1345.70 |  | 212.12 | +- | 151.52 | <68.99 |  | 210Po:
Pure Mylar | Mylar is polyethylene terephthalate polyester |  |  | 2012-01-11 | (ppb or ppm) | 14.17 ppb | +- | 11.94 ppb | <244.93 ppb |  |  | 66.75 ppb | +- | 261.83 ppb | 10.07 ppb | +- | 28.46 ppb | <43.47 ppm | [6 empty] | <683.36 Bq/kg
In Progress and To Be Measured:
Sample Description | Manufacturer | Mass (g) | Live Time (days) | Counting Dates (if applicable) |  |  | 238U from 226Ra |  |  | 238U from 234Th |  |  | 235U |  |  | 232Th |  |  | 40K |  | 137Cs |  |  | 60Co | Comments
(mBq/kg)
(ppb or ppm)